10      1     GI    VERSION     8      0      C  YYYYMMDD        GI VERSION 2005xxxx

20      1     GI    TSTSPON1   40      0      C                  CONDUCTED FOR, FIRST LINE

30      1     GI    TSTSPON2   40      0      C                  CONDUCTED FOR, SECOND LINE

40      1     GI    LABVALID    1      0      C  V, I OR N       TEST LAB VALIDATION (V, I OR N)

45      1     GI    TSTOIL      2      0      C  NR or RO        OIL TEST TYPE

50      1     GI    INSTRUID   20      0      C                  INSTRUMENT ID

60      1     GI    RUNNUM     10      0      C                  TEST RUN NUMBER

70      1     GI    DTCOMP      8      0      C  YYYYMMDD        DATE COMPLETED

80      1     GI    EOTTIME     5      0      C  HH:MM           TIME COMPLETED

90      1     GI    OILCODE    38      0      C                  OIL CODE

110     1     GI    ALTCODE1   15      0      C                  ALTERNATE OIL CODE 1

120     1     GI    ALTCODE2   15      0      C                  ALTERNATE OIL CODE 2

130     1     GI    ALTCODE3   15      0      C                  ALTERNATE OIL CODE 3

140     1     GI    OPVALID     8      0      C                  OPERATIONAL VALIDITY -- HAS/HAS NOT

150     1     GI    SUBLAB     40      0      C                  TESTING LABORATORY NAME

160     1     GI    SUBSIGIM   70      0      C                  TESTING LABORATORY VALIDATORS SIGNATURE

170     1     GI    SUBNAME    40      0      C                  TESTING LABORATORY VALIDATORS NAME

180     1     GI    SUBTITLE   40      0      C                  TESTING LABORATORY VALIDATORS TITLE

190     2     GI    LAB         2      0      C                  LAB CODE

200     2     GI    IND         6      0      C                  TMC OIL CODE

201     2     GI    LABOCODE   20      0      C                  LABORATORY INTERNAL OIL CODE

210     2     GI    DTLSTCAL    8      0      C  YYYYMMDD        DATE OF LAST TMC CALIBRATION

215     2     GI    DTCALEXP    8      0      C  YYYYMMDD        CALIBRATION EXPIRATION DATE

220     2     GI    VIS5G       5      1      N  deg C           VISCOSITY 5000 TEMPERATURE

230     2     GI    VIS10G      5      1      N  deg C           VISCOSITY 10000 TEMPERATURE

240     2     GI    VIS20G      5      1      N  deg C           VISCOSITY 20000 TEMPERATURE

250     2     GI    VIS30G      5      1      N  deg C           VISCOSITY 30000 TEMPERATURE

260     2     GI    VIS40G      5      1      N  deg C           VISCOSITY 40000 TEMPERATURE

270     2     GI    GELTEMP     5      1      N  deg C           GELATION TEMPERATURE

280     2     GI    GELIND      5      1      A                  GELATION INDEX [<]

290     2     GI    INSTMODL   10      0      C                  INSTRUMENT MODEL

300     2     GI    HEADSN     12      0      C                  HEAD SERIAL NO. BEING USED FOR TMC

CALIBRATION

310     2     GI    HEADVER    10      0      C                  HEAD VERSION

320     2     GI    SWMAKE     16      0      C                  SOFTWARE MAKE

330     2     GI    SWVER       7      0      C                  SOFTWARE VERSION

340     2     GI    DTINTCAL    8      0      C  YYYYMMDD        DATE OF LAST INTERNAL CALIBRATION OF

HEAD BEING USED FOR TMC CALIBRATION

350     3     GI    TOTCOM      2      0      Z                  TOTAL LINES OF COMMENTS & OUTLIERS

360     3     GI    OCOMRxxx   70      0      C                  OTHER DOWNTIME COMMENT XXX