## Slide 1: LTMS Task Force Statistics Subgroup Report to Joint LTMS Open Forum
San Antonio, TX
May 11, 2010

## Slide 2: Outline
Statistics Subgroup
Expectations
Concepts and Goals
What’s new in LTMS Version 2
Formulae
High level LTMS version 2 flowchart
Examples
Hot issues for discussion
  Reference intervals and spacing

## Slide 3: Statistics Subgroup
Arthur Andrews, ExxonMobil
Doyle Boese, Infineum
Janet Buckingham, SwRI
Martin Chadwick, Intertek
Jeff Clark, TMC
Todd Dvorak, Afton
Jo Martinez, Chevron Oronite
Bob Mason, SwRI
Allison Rajakumar, Lubrizol
Jim Rutherford, Chevron Oronite
Phil Scinto, Lubrizol
Dan Worcester, SwRI
Not Unanimous

## Slide 4: Expectations
Today
  Sharing with industry
  Understanding of our goals and approach
  Exploring implications and practical outcomes
  Gathering reactions, feedback, and suggestions
Next Steps?
  In the following two days
    PC Surveillance Panels discuss application of version 2?
  At next HD Surveillance Panel face to face meetings (5/25&26?)
    HD Surveillance Panels discuss application of version 2?
  Beyond
    Extension to gear tests, bench tests?

## Slide 5: Concepts and Goals
Encourage consistency across test types
Reduced need for industry corrections based on limited information
More adaptive to parts and other uncontrolled test changes
Improved LTMS should lead to less lost reference tests
The goal is a more efficient and useful reference testing system – both testing and other industry efforts
The greatest benefit of improved LTMS is in the precision and accuracy of candidate testing

## Slide 6: What’s New in LTMS Version 2?
Models more closely reflect real world by recognizing that laboratories might not operate at the same severity level and tests change over time
Focus on knowing where the laboratory is relative to target through the use of ei – if we can reasonably adjust non-reference results, we don’t need more references
Trigger additional tests not when the lab is “off target”, but when we don’t know where the lab is relative to target
Provide incentives in reduced reference frequency when a lab is consistent and close to target

## Slide 7: What’s New in LTMS Version 2? (continued)
Procedure for limiting impact of suspicious reference results through undue influence analysis
Tool for surveillance panels to better ensure that labs are measuring the same performance mechanism as each other and as when the test was used in category definition
Consistent definition of primary and secondary parameters

## Slide 8: Formulae
For each severity adjustment entity,
Ti = ith test result in appropriate units
Yi = ith standardized test result
where target and standard deviation are as currently defined for the reference oil used in the reference test

## Slide 9: Formulae (continued)
For each severity adjustment entity,
Zi = EWMA
For default LTMS, λ=0.2
Fast start is used, i.e., Z0 = average of Y1, Y2, and Y3
ei = prediction error from EWMA

## Slide 10: High Level LTMS Version 2 Flowchart

## Slide 11: Examples
Industry could maybe best understand LTMS proposals by using historical data from an existing test to demonstrate how it works and what happens. But we should be very careful in how we interpret this exercise. There is no way that historical data from the previous system can be manipulated to determine what would have happened if the revised LTMS system had been in place.
Sequence VIII – Jo
Sequence IVA – Doyle
Sequence IIIG – Todd
Sequence VG – Phil
Sequence VID - Janet

## Slide 12: Hot Issues for Discussion
Chance of extending and reducing reference interval should be equal or just drop level 2 versus your test is only as good as your worst (primary) parameter.
Are we allowing people to not move toward target?
Should we just use the Sequence III type LTMS for everything?
K values => limits
Reference intervals and spacing

## Slide 13: Hot Issues for Discussion
SP determination of a lab too far – can it change?
C13 example?
Racing fastest in HD
Critical/Noncritical versus Primary/Secondary
Incentive for being on target
Continuous adjustment
Plug in for test types
Do it in the middle of GF-5?
Industry charting

## Slide 14: Reference Intervals and Spacing
Old:
In order to remain qualified for non-reference testing, a test stand shall begin a reference oil test after no more than 10 test starts in the stand or no later than 18 months following the completion of the stand’s previous qualifying reference oil test, whichever comes first. In order to avoid clustering at the end of the 18 month period, a test stand will begin a reference oil test after no more than 5 test starts commencing after 9 months following the stand’s previous qualifying reference oil test. The time limits could be modified if appropriate by the Surveillance Panel. These intervals might be reduced or increased as a function of monitoring.
New:
In order to remain qualified for non-reference testing, a test stand shall begin a reference oil test after no more than 18 non-reference test starts in the stand or no later than 15 months following the completion of the stand’s previous qualifying reference oil test, whichever comes first. If more than 15 non-reference test starts or more than 12 months are allowed, then the laboratory is required to run 1 acceptable reference per six month interval. The time limits could be decreased if appropriate by the Surveillance Panel. These intervals might be reduced or increased as a function of monitoring.