One Test Parameter

|  |  | EWMA |  |  |  | Shewhart Chart |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LAMBDA |  | K |  | K |  |
| Chart Level | Limit Type | Precision | Severity | Precision | Severity | Precision | Severity |
| Stand | Reduced K | -- | -- | -- | -- | -- | 1.48 |
|  | Action | 0.30 | 0.30 | 1.48 | 1.80 | 1.48 | 1.80 |
| Lab | Warning | 0.3 | -- | 1.48 | -- | -- | -- |
|  | Action | 0.3 | 0.2 | 2.33 | 1.96 | 1.48 | 1.80 |
| Industry | Warning | 0.2 | 0.2 | 1.48 | 1.80 | -- | -- |
|  | Action | 0.2 | 0.2 | 2.33 | 2.58 | -- | -- |

7% False Alarm Error Rate for Shewhart Charts and Stand Charts

7% False Alarm Error Rate for EWMA Warning Limits

1% False Alarm Error Rate for EWMA Action Limits (Except for Lab Severity and Stand)

5% False Alarm Error Rate for EWMA, Lab Severity Action

Adjustments Made for Multiple Parameters Except in the Case of Shewhart Severity and EWMA, Lab Severity Action

Two Test Parameters

|  |  | EWMA |  |  |  | Shewhart Chart |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LAMBDA |  | K |  | K |  |
| Chart Level | Limit Type | Precision | Severity | Precision | Severity | Precision | Severity |
| Stand | Reduced K | -- | -- | -- | -- | -- | 1.48 |
|  | Action | 0.30 | 0.30 | 1.80 | 2.10 | 1.80 | 1.80 |
| Lab | Warning | 0.3 | -- | 1.80 | -- | -- | -- |
|  | Action | 0.3 | 0.2 | 2.57 | 1.96 | 1.80 | 1.80 |
| Industry | Warning | 0.2 | 0.2 | 1.80 | 2.10 | -- | -- |
|  | Action | 0.2 | 0.2 | 2.57 | 2.81 | -- | -- |

7% False Alarm Error Rate for Shewhart Charts and Stand Charts

7% False Alarm Error Rate for EWMA Warning Limits

1% False Alarm Error Rate for EWMA Action Limits (Except for Lab Severity and Stand)

5% False Alarm Error Rate for EWMA, Lab Severity Action

Adjustments Made for Multiple Parameters Except in the Case of Shewhart Severity and EWMA, Lab Severity Action

Three Test Parameters

|  |  | EWMA |  |  |  | Shewhart Chart |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LAMBDA |  | K |  | K |  |
| Chart Level | Limit Type | Precision | Severity | Precision | Severity | Precision | Severity |
| Stand | Reduced K | -- | -- | -- | -- | -- | 1.48 |
|  | Action | 0.30 | 0.30 | 1.98 | 2.25 | 1.98 | 1.80 |
| Lab | Warning | 0.3 | -- | 1.98 | -- | -- | -- |
|  | Action | 0.3 | 0.2 | 2.72 | 1.96 | 1.98 | 1.80 |
| Industry | Warning | 0.2 | 0.2 | 1.98 | 2.25 | -- | -- |
|  | Action | 0.2 | 0.2 | 2.72 | 2.93 | -- | -- |

7% False Alarm Error Rate for Shewhart Charts and Stand Charts

7% False Alarm Error Rate for EWMA Warning Limits

1% False Alarm Error Rate for EWMA Action Limits (Except for Lab Severity and Stand)

5% False Alarm Error Rate for EWMA, Lab Severity Action

Adjustments Made for Multiple Parameters Except in the Case of Shewhart Severity and EWMA, Lab Severity Action

Four Test Parameters

|  |  | EWMA |  |  |  | Shewhart Chart |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LAMBDA |  | K |  | K |  |
| Chart Level | Limit Type | Precision | Severity | Precision | Severity | Precision | Severity |
| Stand | Reduced K | -- | -- | -- | -- | -- | 1.48 |
|  | Action | 0.30 | 0.30 | 2.10 | 2.36 | 2.10 | 1.80 |
| Lab | Warning | 0.3 | -- | 2.10 | -- | -- | -- |
|  | Action | 0.3 | 0.2 | 2.80 | 1.96 | 2.10 | 1.80 |
| Industry | Warning | 0.2 | 0.2 | 2.10 | 2.36 | -- | -- |
|  | Action | 0.2 | 0.2 | 2.80 | 3.00 | -- | -- |

7% False Alarm Error Rate for Shewhart Charts and Stand Charts

7% False Alarm Error Rate for EWMA Warning Limits

1% False Alarm Error Rate for EWMA Action Limits (Except for Lab Severity and Stand)

5% False Alarm Error Rate for EWMA, Lab Severity Action

Adjustments Made for Multiple Parameters Except in the Case of Shewhart Severity and EWMA, Lab Severity Action

Five Test Parameters

|  |  | EWMA |  |  |  | Shewhart Chart |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LAMBDA |  | K |  | K |  |
| Chart Level | Limit Type | Precision | Severity | Precision | Severity | Precision | Severity |
| Stand | Reduced K | -- | -- | -- | -- | -- | 1.48 |
|  | Action | 0.30 | 0.30 | 2.18 | 2.45 | 2.18 | 1.80 |
| Lab | Warning | 0.3 | -- | 2.18 | -- | -- | -- |
|  | Action | 0.3 | 0.2 | 2.88 | 1.96 | 2.18 | 1.80 |
| Industry | Warning | 0.2 | 0.2 | 2.18 | 2.45 | -- | -- |
|  | Action | 0.2 | 0.2 | 2.88 | 3.08 | -- | -- |

7% False Alarm Error Rate for Shewhart Charts and Stand Charts

7% False Alarm Error Rate for EWMA Warning Limits

1% False Alarm Error Rate for EWMA Action Limits (Except for Lab Severity and Stand)

5% False Alarm Error Rate for EWMA, Lab Severity Action

Adjustments Made for Multiple Parameters Except in the Case of Shewhart Severity and EWMA, Lab Severity Action