Additional Background to the Development of Rotational Viscosity Measurement

Herman George – The Lubrizol Corporation

For the past 6 years an ASTM joint task force (Subcommittee 7 and Mack Surveillance Panel) has been involved in the development of a suitable method for studying rheological properties of highly sooted oils, or oils containing significant amounts of solid material. This ASTM task force developed a rotational viscosity method which has been balloted in 2002/2003 and has been defined as ASTM 6895. In order to further development of this method, the Mack Surveillance panel implemented rotational viscometric analysis of sooted oils.

The capillary tubes used in the Kinematic technique were never intended to measure soot loaded fluids or non-Newtonian fluids.

The technical justification for rotational viscosity has never revolved around the method being more precise than the Kinematic method. The original reasoning for developing a rotational viscosity technique was that it gives more accurate and field relevant results than the Kinematic technique at higher soot loadings, or when the fluid is non-Newtonian.  The two methods are equally accurate at low soot loadings or with new fluids the Kinematic technique is more precise.

This can be seen with the reference oil data.  We would expect the reference oil run in a number of engines under the T11 conditions to give reasonably consistent results across the labs.  The End of Test Kinematic data varies from 37.08 to 546 cSt with a COF of 109% and a mean of 146.45cSt.  This would imply a test with no control at all.  More importantly, I believe most would agree if these engines were actually seeing 500+ cSt oil at 100C, catastrophic engine damage would occur.  The EOT rotational viscosity shows a range of 27.17 to 64.37 cP with a COF of 20% and a mean of 51.37 cP. This shows an in control test with an upper viscosity limit for the reference oil at 7.5% soot of about 51 cP.

The table below shows the means and COV for the reference oils as a function of test time.    The soot level at 192 hours is about 5-5.5%.

| Time, hrs | KV mean | KV Stdev | KV COV (%) | RV mean | RV Stdev | RV COV (%) |
| --- | --- | --- | --- | --- | --- | --- |
| 252 | 146.45 | 159.65 | 109.01 | 51.37 | 10.27 | 19.98 |
| 240 | 90.53 | 83.36 | 92.08 | 46.21 | 9.46 | 20.47 |
| 216 | 36.58 | 15.47 | 42.27 | 29.20 | 8.06 | 27.60 |
| 192 | 23.55 | 1.86 | 7.91 | 20.15 | 2.02 | 10.04 |

.