# T-11 LTMS Requirements

The following are the specific T-11 calibration test requirements.

A.	Reference Oils and Parameters

The critical parameter is Soot at 12 cSt Viscosity Increase. MRV Viscosity is a non-critical parameter.  The reference oils required for test stand and test laboratory calibration are reference oils accepted by the ASTM Mack Test Surveillance Panel.  The mean and standard deviation for the current reference oils for critical and non-critical parameters are presented below.

SOOT @ 12 cSt VISCOSITY INCREASE

Unit of Measure:  %

CRITICAL PARAMETER

| Reference Oil | Mean | Standard Deviation |
| --- | --- | --- |
| 820-2 | 5.78 | 0.21 |

MRV VISCOSITY

Unit of Measure:  cP

NON-CRITICAL PARAMETER

| Reference Oil | Mean | Standard Deviation |
| --- | --- | --- |
| 820-2 | 14969 | 1097 |

B.	Acceptance Criteria

1.		New Test Stand

a. Less than four (4) Operationally Valid Calibration Results in Laboratory

	A minimum of two (2) operationally valid calibration tests with no stand Shewhart severity alarms, must be conducted on any approved reference oil.

	All operationally valid calibration test results must be charted to determine if the test stand is currently “in control” as defined by the control charts from the Lubricant Test Monitoring System.

b. Four (4) or more Operationally Valid Calibration Results in Laboratory*

- The first operationally valid calibration test run on any approved reference oil must have no stand Shewhart severity alarms using the “Reduced K” values. If the first operationally valid calibration test does not meet this acceptance criteria, then the New Test Stand criteria listed above in 1.a must be followed.

*	Only test results from calibrated stands in the laboratory count toward the tally of four (4) required operationally valid calibration tests. The fourth test must complete (date and time) before the first test completes (date and time) on a New Test Stand that is seeking calibration with a single test result. In addition, the first test for the stand is to begin within six (6) months of the completion of the last acceptable calibration test.

c. Stand for which less than two years have lapsed since the completion of the last successful calibration test on that stand

- The first operationally valid calibration test run on any approved reference oil must have no stand Shewhart severity alarm using the “Reduced K” values. If the first operationally valid calibration test does not meet this acceptance criteria, then the New Test Stand criteria listed above in 1.a must be followed.

2.	Existing Test Stand

	The test stand must have been an ASTM TMC calibrated test stand prior to LTMS introduction or have previously been accepted into the system by meeting LTMS calibration requirements.

	All operationally valid calibration tests must be charted to determine if the test stand is currently “in control” as defined by the control charts from the Lubricant Test Monitoring System.

3.	Reference Oil Assignment

Once test stands have been accepted into the system, the TMC will assign reference oils for continuing calibration according to the following reference oil mix:

	100% of the scheduled calibration tests should be conducted on reference oil 820-2 or subsequent approved reblends.

4.	Control Charts

In Section 1, the construction of the four control charts that constitute the Lubricant Test Monitoring System is outlined.  The constants used for the construction of the control charts for the T-11, and the response necessary in the case of control chart limit alarms, are depicted below.

LUBRICANT TEST MONITORING SYSTEM CONSTANTS

|  |  | EWMA Chart |  |  |  | Shewhart Chart |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LAMBDA |  | K |  | K |  |
| Chart Level | Limit Type | Precision | Severity | Precision | Severity | Precision | Severity |
| Stand | Reduced | -- | -- | -- | -- | -- | 1.43 |
|  | Action | 0.3 | 0.3 | 1.74 | 2.05 | 1.74 | 1.75 |
| Lab | Warning | 0.2 | -- | 1.74 | -- | -- | -- |
|  | Action | 0.2 | 0.2 | 2.58 | 1.96 | 1.74 | 1.75 |
| Industry | Warning | 0.2 | 0.2 | 1.74 | 2.05 | -- | -- |
|  | Action | 0.2 | 0.2 | 2.58 | 2.81 | -- | -- |

The following are the steps that must be taken in the case of exceeding control chart limits.  The steps are listed in order of priority, although charts should be studied simultaneously to determine the cause(s) of a problem.  In the case of multiple alarms, contact the TMC for guidance.

	Exceed EWMA laboratory chart action limit for precision (critical parameters only)

	Immediately provide written notice of the alarm and its meaning to all Test Purchasers and the TMC. This notice shall be appended to all test reports during the alarm period.

	Exceed EWMA laboratory chart warning limit for precision (critical parameters only)

- Immediately provide written notice of the alarm and its meaning to all Test Purchasers and the TMC. This notice shall be appended to all test reports during the alarm period.

	Exceed EWMA test stand chart limit for precision (critical parameters only)

	Immediately provide written notice of the alarm and its meaning to all Test Purchasers and the TMC. This notice shall be appended to all test reports during the alarm period.

	Exceed Shewhart test stand chart limit for precision (critical parameters only)

	Immediately provide written notice of the alarm and its meaning to all Test Purchasers and the TMC. This notice shall be appended to all test reports during the alarm period.

	Exceed EWMA laboratory chart action limit for severity (all parameters)

	Calculate laboratory Severity Adjustment (SA) using the current laboratory EWMA (Zi) as follows:

Soot at 12 cSt Viscosity Increase:  SA = (-Zi) x (0.21)

MRV Viscosity:  SA = (-Zi) x (1097)

	Confirm calculation with the TMC.

	Exceed EWMA test stand chart limit for severity (critical parameters only)

	Notify the TMC.  If the direction of the test stand severity is deemed different from that of the test laboratory, conduct an additional calibration test in the identified test stand. If this limit is still exceeded after the additional calibration test, then remove test stand from the system, notify the TMC, correct test stand severity problem, and follow requirements for entry of a new test stand into the system.

	Exceed Shewhart test stand chart limit for severity (critical parameters only)

	Conduct an additional calibration test.

The following industry issues are handled by the TMC and do not require individual laboratory action.

	Exceed EWMA industry chart action limit

- TMC to notify test developer, surveillance panel chairman, and ACC Monitoring Agency.  Meeting of TMC, test developer, and surveillance panel required to determine course of action.

	Exceed EWMA industry chart warning limit

- TMC to notify test developer, surveillance panel chairman, and ACC Monitoring Agency.  Coordination of TMC, test developer, and surveillance panel chairman required to discuss potential problem.