Mack Test Type Calibration Details

|  | T-8 | T-9 | T-10 | T-11 | # Consensus |
| --- | --- | --- | --- | --- | --- |
| Cal Period | 9 months or 3000 hours | 12 months or 5000 hours | 6 months | 6 months or 1512 hours | X months Or Y * X hours |
| New Lab | 12 months | 24 months | 12 months | 18 months | 3* X months |
| New Stand | LTMS Guidelines | 24 months | 12 months | 18 months | 3* X months |
| Reduced K | Yes | No | Yes | Yes | Yes |
| ### No. of Tests | 4 | - | 4 | 4 | 4 |
| Lab Time Limit | 18 months | - | 6 months | 6 months | 2*X months |
| Old Stand Limit | 33 months | - | N/A | 30 months | X plus 2 years |
| Precision Alarms Critical? | Yes | Yes | No | No | No |
| Severity Adj. | Yes | Yes | Yes | Yes | Yes |