## CO2 Measurement
|  | CO2 Intake Measurement | [6 empty] | CO2 Exhaust Measurement
Lab |  | Zero Gas (eg: 100% N2) | Span Gas (% CO2, Balance) | Blend Quality (eg: Master Class) | Principle of Operation of Analyzer (eg: Non-Dispersive InfraRed, Chemical Cell, ...) | Filter/Trap (Y/N) | Sample Chilled/Dryed (Y/N) | If Yes, Explain | Zero Gas (eg: 100% N2) | Span Gas (% CO2, Balance) | Blend Quality (eg: Master Class) | Principle of Operation of Analyzer (eg: Non-Dispersive InfraRed, Chemical Cell, ...) | Filter/Trap (Y/N) | Sample Chilled/Dryed (Y/N) | If Yes, Explain
LZ | Phase I | N2/100% | 15% & 4% CO2 bal. N2 | Primary Standard ± 1% | Non-Dispersive InfraRed | Y | Y | Sample is taken wet no heated lines then through a trap to filters into a sample cooler to 4C and into the analyzer | N2/100% | 15% & 4% CO2 bal. N2 | Primary Standard ± 1% | Non-Dispersive InfraRed | Y | Y | Sample is taken wet no heated lines then through a trap to filters into a sample cooler to 4C and into the analyzer
| Phase II | N2/100% | 15% & 4% CO2 bal. N2 | Primary Standard ± 1% | Non-Dispersive InfraRed | Y | Y | Same as above | N2/100% | 15% & 4% CO2 bal. N2 | Primary Standard ± 1% | Non-Dispersive InfraRed | Y | Y | Same as above
XOM | Phase I | 100% N2 | 1.50% CO2, bal. N2 | Master Class +/ 1% | Non-Dispersive InfraRed | Y | Y | Sample taken wet (no heated line), run thru a chiller (38 F) and a water separator | 100% N2 | 12.0% CO2, bal. N2 | Master Class +/ 1% | Non-Dispersive InfraRed | Y | Y | Sample taken wet (no heated line), run thru a chiller (38 F), a water separator and a series of filters
| Phase II | 100% N2 | 3.00% CO2, bal. N2 | Master Class +/ 1% | Non-Dispersive InfraRed | Y | Y | Same as above | 100% N2 | Same as above | Master Class +/ 1% | Non-Dispersive InfraRed | Y | Y | Same as above
SR | Phase I | 99.99 | 1.55 | 1% | NDIR | Y | Y | See #1 | 99.99 | 10 | 2% | NDIR | Y | Y | See #1
| Phase II | 99.99 | 1.55 | 1% | NDIR | Y | Y | See #1 | 99.99 | 10 | 2% | NDIR | Y | Y | See #1
Saturated @ 5 deg C
PE | Phase I | 100% N2 | 3.27, balance N2 | Primary Standard | NDIR | Y | N |  | 100% N2 | 10.0, balance N2 | Certified Standard | NDIR | Y | N
| Phase II | 100% N2 | 3.27, balance N2 | Primary Standard | NDIR | Y | N |  | 100% N2 | 10.0, balance N2 | Certified Standard | NDIR | Y | N
Afton | Phase I | N2 | 3.5%/N2 | Primary Standard(.02%) | NDIR | Y-2 | Y | * | N2 | 10 or 12%/N2 | Primary Standard(.02%) | NDIR | Y-2 | Y | **
| Phase II | N2 | 1.5%/N2 | Primary Standard(.02%) | NDIR | Y-2 | Y | * | N2 | 10 or 12%/N2 | Primary Standard(.02%) | NDIR | Y-2 | Y | **
|  |  |  | * Chilled using chilled water/sample heat exchanger followed by 1 deg C condenser | [6 empty] | ** Chilled using chilled water/sample spiral heat exchanger to 4 deg C
(have run second condenser to -20C with no change in CO2 measurement)