LTMS Task Force Meeting Minutes

A LTMS Task Force web meeting was held at 2:30 PM (ET) on Wednesday, June 9, 2010.  The attendees included Arthur Andrews, Bob Mason, Martin Chadwick, Dan Worcester, Todd Dvorak, Phil Scinto, Doyle Boese, Janet Buckingham, Jo Martinez, and Jim Rutherford.

The tentative agenda and discussion related highlights of the web meeting are summarized in the following paragraphs.

- Open Forum

- Jim provided a review of the LTMS (v2) draft 16 document, “Punch Items,” and “Hot Issues” that were the result of the Open Forum meeting in San Antonio.

- Jim indicated that the LTMS (v2) - Draft 16 included revisions changing the wording for the “undue influence” and primary/secondary terms.

- PC SP Meetings

- During the PCMO SP meetings in San Antonio, a number of the SPs had proposed some dates for task forces reporting back to the surveillance panels on the implementation of LTMS (v2).  However, it is not anticipated that the proposed LTMS v2 deadlines for reporting will be met.

- It is noteworthy to mention that one of the PCMO Surveillance Panels has begun having meetings to discuss items pertaining to the implementation of LTMS (v2); however, no meetings have been scheduled for the Seq. IVA, VID, VG, and VIII.

- HD SP Meetings

  - Following the HD Surveillance Panel meetings, the HD SPs have established a weekly conference call to discuss and reach a consensus on the general form of LTMS (v2) for HD.  When this is accomplished, the meetings will then “tailor” the LTMS (v2) to the individual tests. These efforts are in preparation for a (LTMS v2) face to face meeting, which is scheduled in August.

- HD LTMS Teleconference

  - The first HD SP conference call focused on the “Punch Issues” and “Hot Items” list.  The team also began to review the “abridged” LTMS (v2) document.

- III LTMS Teleconference

  - Similar to the HD approach, the first IIIG SP conference call focused on the “Punch Issues” and “Hot Items” list.  The team also began to review the “abridged” LTMS (v2) document.

  - Some members of the team suggested that the IIIG LTMS (v1) system wasn’t necessarily “broken.”

  - It was indicated that the IIIG LTMS (v2) conference call did not have any representation from SwRI or Infineum.

- Next ? (General Discussion between LTMS TF members)

The LTMS-TF proceeded to review the “Hot Items” and “Punch List” summary.  For a complete list of “Open” and “Closed” items, please refer to the summary at the end of this document.  The below summarizes a few of the highlights that occurred during the discussion.

  - Some members of the LTMS TF team were concerned with a possible “Cafeteria style LTMS.”  Thus, some SPs may selectively choose only parts of LTMS (v2).  It was noted that the LTMS (v2) was put together as a balanced package; and, it is important that it be implemented as a package.

  - One of the questions that occurred during the SP teleconference calls was the rationale for 18 candidates per reference.  The group indicated that if it is extended by 40%, then the max number of runs is 25 candidates per reference.

  - The group decided to change the “Undue Influence” (UI) term to “Excessive Influence” (EI).

  - The Critical/noncritical – primary/secondary is now referred to as ei and zi.

  - It was agreed that more work needs to be done on the continuous SAs for merit type parameters.

Closing Meeting Remarks

It was agreed to meet every other week starting at 11:00AM on Wednesdays to address any issues that may come up during the PCMO and HDD LTMS (v2) implementation meetings.  Also, it has been tentatively agreed to meet in San Antonio at SwRI on the 20th & 21st July for a LTMS-TF SS meeting.

The LTMS-TF adjourned at 4:00PM.

Respectfully Submitted,

Todd Dvorak

“Hot Issues and Questions.docx” Document:

Questions from implementation

- Test starts versus valid tests

  - Most PC tests use test starts. Most HD tests use valid tests. How about complete tests? OPEN

- Maximum reference intervals

  - The LTMS TF SS has revisited the issue and our consensus is unchanged. CLOSED

Hot Issues for Discussion

- Chance of extending and reducing reference interval should be equal or just drop level 2 versus your test is only as good as your worst (primary) parameter. CLOSED

  - The LTMS TF SS has revisited the issue and our consensus is unchanged.

  - Version 2 reference frequencies are intended to obtain the right amount of reference data. If we are unsure where a lab is relative to target, then we need more data. If a lab is very predictable and on target, then we can proceed with less frequent referencing.

- Are we allowing people to not move toward target? CLOSED

  - Not really. There are incentives from interval increase and reduction. The best way to avoid Zi level 2 alarm is to be on target no matter what the level 2 limit is. If you want more incentive for being on target, tighten the limit.

  - A move toward target could result in surpassing an ei limit. This would be appropriate if the lab had a severity adjustment and the new reference indicated that something might have changed at the lab.

- Should we just use the Sequence III type LTMS for everything? CLOSED

  - No. We probably shouldn’t use it for Sequence III.

- K values => limits CLOSED

  - We have removed the references to K values since they imply invalid probability interpretations. The LTMS TF SS has revisited default limits and our consensus is unchanged.

- Reference intervals and spacing CLOSED

  - The LTMS TF SS has revisited the issue and our current consensus is unchanged.

- Replacement for the term “undue influence”

  - The LTMS TF SS current consensus is “excessive influence”.

- Application in the presence of merits

  - The LTMS TF SS is currently studying this issue.

- SP determination of a lab too far – can it change? CLOSED

  - Yes. Setting Zi level 2 limits will be difficult. As with any of the LTMS parameters, improvements should be made when justified.

- C13 example? CLOSED

  - The C13 example was shared with the surveillance panel.

- Racing fastest in HD CLOSED

  - Other test areas might catch up. The industry is engaged.

- Critical/Noncritical versus Primary/Secondary

  - We are now using ei and Zi designations.

- Incentive for being on target CLOSED

  - See 2a above

- Continuous adjustment

  - The LTMS TF SS has revisited the issue and our current consensus is unchanged in general. One member said if certain approaches were used in merit situations we should consider propagation of error.

- Plug in for test types CLOSED

  - Our basic approach is stated as default with decisions appropriate for the surveillance panels designated. We are working with the various groups toward maintaining a common default.

- Do it in the middle of GF-5?

  - The LTMS TF SS will discuss further.

- Industry charting

  - The LTMS TF SS is currently studying this issue.