## Slide 1: Sequence VIII LTMS Version 2 review
LTMS TF SS
May 11, 2010

## Slide 2: Reference oil data summary
Includes 205 chartable data
Four (4) test laboratories (A, B, C and D)
Latest reference oil result is March 1, 2010

## Slide 3: LTMS VERSIOn 2
Shewhart Chart of Prediction Error ei = Yi - Zi-1 |  | 
Limit Type | Limit | 
Level 3 | 2.066 | 
Level 2 | 1.734 | 
Level 1 | 1.351 | 
EWMA of Standardized Test Result: Zi |  | 
Limit Type | Lambda | Limit
Level 2 Lower | 0.2 | TBD
Level 2 Upper | 0.2 | TBD
Level 1 | 0.2 | 0
Primary Parameter: Total Bearing Weight Loss
Secondary Parameter: 10-hour Stripped Viscosity

## Slide 4: Review of alarms and actions
Chart: Fate of Sequence VIII Calibration Attempts from LTMS Dataset - Current System
| Aborted | Invalid | Failed | Success
 | 6.689 | 28.0936 | 12.0401 | 53.1773

## Slide 5: Review of alarms and actions
Chart: LTMS Alarms and Reference Period Extensions in Sequence VIII (TBWL Primary)
| D | C | B | A | All Labs
Extended 20% - New | 1 | 2 | 7 | 5 | 15
Extended 40% - New | 7 | 0 | 9 | 31 | 47
Reduced Interval - New | 0 | 0 | 27 | 3 | 14
Unacceptable - New | 0 | 0 | 11 | 3 | 8
Unacceptable - Current | 0 | 0 | 5 | 1 | 17

## Slide 6: Prediction error
Chart: Candidate Oil Test Result Target Variability in Sequence VIII
| D | C | B | A | All Labs
New System | 0.68406 | 0.7729 | 1.2276 | 0.98087 | 1.068
Current System | 0.70269 | 0.98728 | 1.3676 | 0.97585 | 1.1388

## Slide 7: Prediction error
Chart: Candidate Oil Test Result Target Variability in Sequence VIII
| D | C | B | A | All Labs
New System | 0.90269 | 1.7682 | 1.4739 | 1.059 | 1.2475
Current System | 0.88882 | 2.0893 | 1.4592 | 1.0671 | 1.2534

## Slide 8: Prediction error shewhart
Chart: TBWL ei Shewhart Chart by Lab
Lab C | 0.96077 | -0.43729 | -0.82033 | -0.12686
Lab D | -0.34313 | 0.078393 | 0.38631 | -0.14355 | 0.18826 | -0.019891 | -0.97041 | 0.15787 | 1.247 | -1.0171 | 1.0794 | -0.19007 | 0.73255

## Slide 9: Effective pass limit
Test Sequence
Chart: Effective Pass Limit Given Severity Adjustment in Lab A

## Slide 10: Effective pass limit
Test Sequence
Chart: Effective Pass Limit Given Severity Adjustment in Lab B

## Slide 11: Effective pass limit
Test Sequence
Chart: Effective Pass Limit Given Severity Adjustment in Lab C
Current System | 26.4 | 26.4 | 26.4 | 26.4
New System | 24.2635 | 23.8437 | 23.0561 | 22.9344

## Slide 12: Effective pass limit
Test Sequence
Chart: Effective Pass Limit Given Severity Adjustment in Lab D
Current System | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4 | 26.4
New System | 24.1882 | 24.2634 | 24.6343 | 24.4965 | 24.6772 | 24.6581 | 23.7265 | 23.8781 | 25.0752 | 24.0988 | 25.135 | 24.9526 | 25.6558