April 1996 (Precision Alarm)

The industry experienced two precision alarms of two and three data points. The first of these alarms was caused by a single stand that had triggered an EWMA stand precision alarm. This alarm returned within limits, but was driven out of limits again by some slight variations in subsequent reference oil test results conducted on other stands.  No causes for these variations were identified and the chart returned within limits with subsequent reference oil tests.

July 1996 (Severity Alarm, mild direction)

The industry experienced two severity alarms of one data point each.  These first of these alarms were caused by a single test result on a test stand that failed mild on HRS and also sounded an EWMA stand precision alarm.  The chart returned within limits for one data point and then returned to an alarm condition due to a single test that was mild, but within Shewhart limits. Subsequent testing cleared this alarm.

November 1996 (Precision Alarm)

The industry experienced two precision alarms of two and one data point. The first of these alarms was caused by a test result on one test stand that sounded a Shewhart severity alarm on HRS followed by a test on a second test stand that triggered an EWMA stand precision alarm. The next test returned the chart within limits, but a rerun of the test that had first caused the alarm returned the industry to an alarm condition for one test.  This was due to differences in laboratory severity levels at the time. No other causes for these variations were identified and the chart returned within limits with subsequent reference oil tests.

September 1997 (Precision Alarm)

The industry experienced two precision alarms of one data point each. These alarms were caused by two tests at two different laboratories, which sounded severe Shewhart severity alarms on HRS.  These tests were intermixed with passing reference oil tests, causing the alarms. No causes for these variations were identified and the chart returned within limits with subsequent reference oil tests.

# January 1998 (Severity and Precision Alarms, mild direction)

The industry experienced a mild severity alarm of 13 data points and three precision alarms of one, two, and one data point respectively due to erratic performance on reference oil 1006.  Of the results obtained on reference oil 1006, four have been significantly mild of target (3.43, 3.21, 3.07, and 2.22 /s units), one was severe of target (-2.16 /s units), and others have been on target (within 0.3 /s units).  These results are not laboratory or test stand dependent.  No cause has yet been found.  Investigations into the problem are ongoing.

April 1998 (Severity Alarm, mild direction)

The industry experienced a mild severity alarm of four data points.  This alarm was caused by two tests, which were mild of target, but within Shewhart limits, at two different laboratories.  Subsequent testing has cleared the alarm condition.

August 1998 (Precision Alarm)

The industry experienced a precision alarm of two data points.  This alarm was caused by two reference oil tests at a single test lab, both on reference oil 402-1.  No cause for the alarm has been found and the laboratory has generated passing results on a subsequent reference oil test. Subsequent testing has cleared the alarm condition.

April 1999 (Severity Alarm, severe direction)

The industry experienced a severity warning of one data point in the severe direction.  No cause for the alarm has been found and the laboratory has generated passing results on a subsequent reference oil test. Subsequent testing has cleared the alarm condition.

May 1999 (Precision Alarm)

The industry experienced a precision alarm of one data point.  No cause for the alarm has been found and the laboratory has generated passing results on a subsequent reference oil test. Subsequent testing has cleared the alarm condition.

The Industry has experienced no other alarms.