SEQUENCE VE AVERAGE PISTON VARNISH INDUSTRY ALARM LOG

February 17, 1995 to February 20. 1995 (Precision)

A series of four warning alarms, no real cause determined.

February 23, 1995 to March 2, 1995 (Precision)

A series of seven warning alarms,  with no real reason as to the variability in results.

May 9, 1995 to May 14, 1995 (Precision)

Two warning alarms sound.

May 20, 1995 to May 22, 1995 (Precision)

A series of four warning alarms,  with no real reason as to the variability in results.

June 1, 1995  (Severity, Severe direction)

A one test warning alarm.

June 13, 1995 to June 30, 1995 (Severity, Severe direction)

A series of four warning alarms,  caused by one test, -2.3654 /s from target.

August 14, 1995 to August 24, 1995  (Severity, Mild direction)

A series of four warning and two action alarms, which clear for one test, followed by a series of five warning alarms. These alarms are the result of a major lab trending mild on PSV. The period where the alarms clears is the result of tests from different labs being reported in between the mild labs results.

September 14, 1995 (Severity, Severe direction)

A one test warning alarm.  A series of three test results, all > 1 /s severe reported in succession, from two labs on two oils. Alarm clears by itself.

November 7, 1995 to November 29, 1995 (Severity, Severe direction)

A two test warning alarms sounded when one result, -2.387 /s from target is reported.

December 5, 1995 (Precision)

A one test warning alarm.

December 27, 1995 (Precision)

A one test warning alarm.

December 27, 1995 to January 15, 1996 (Severity, Severe direction)

A warning and an action alarm sound when a test -4.754 /s from target is reported.

January 11, 1996 to March 7, 1996 (Precision)

A series of four action and one warning alarms, which clear for one test, followed by seven more warning alarms. These alarms do not appear to be caused by one lab or stand.

April 22, 1996 to May 2, 1996 (Severity, Severe direction)

A series of  four action and one warning alarm. Appears to be lab influence. Three of these results were from one lab and were -1.814, -2.430 and -1.583 /s from target.

May 12, 1996 to June 25, 1996 (Severity, Severe direction)

A series of seven warning and six action alarms. These alarms were started by results from two labs which had been trending severe. However, a number of tests which were severe were also reported from a lab which had been trending mild. No reason for this was ever ascertained.

August 14, 1996 to August 27, 1996 (Severity, Severe direction)

A two test action alarm sounds, caused by two relatively (-2.254 and -1.294) severe results from two labs which have been trending severe.

August 28, 1996 (Precision)

A one test precision warning alarm when slightly mild results are reported.

October 8, 1996 (Severity, Severe direction)

A one test warning alarm, caused by one test reported from a severe lab, 2.487 /s from target.

December 17, 1996 to February 25, 1997 (Precision)

A series of eight warning and two action alarms sound. Most data is from one lab.

March 20, 1997 to March 23, 1997 (Severity, Mild direction)

A series of two action and two warning alarms. Appears to be lab related, as three of the four results were from one lab and were 1.037, 2.236 and 0.8291 /s from target.

April  9, 1997 to April 23, 1997 (Severity, Mild direction)

A series of three warning and three action alarms. Alarms begin with one test which was 3.445 /s from target, followed by two results from  one lab which were 1.834 and 1.731 /s from target.

July 1, 1997 (Severity, Mild direction)

One test warning alarm, caused by one result, 2.286 /s from target.

July 6, 1997 to July 14, 1997 (Precision)

Two warning alarms sound, appear  to be related to laboratory severity.

October 2, 1997 to October 4, 1997 (Precision)

Two test warning alarm.

October 6, 1997 (Severity, Severe direction)

One test warning alarm, caused by four results from two labs which were -1.030, -2.030, -1.782 and -0.946 /s from target.

November 25, 1997 to November 30, 1997 (Precision)

A two test warning alarm, no cause determined.

April 6, 1998 to May 6, 1998 (Severity, Mild Direction)

As of 4/20/98, two severity warning and three severity action alarms have occurred. Results were 1.649, 1.215, 2.053, 0.610 and 2.168 /s from target. All five  results were from 2 labs, and four of the five results wee from one lab!  Alarm clears after a result –3.675 /s from target is reported.

May 11, 1998  to May 20, 1998 (Precision)

A precision warning alarm sounded as a result of a test reported which was –3.675 /s from target.

February 2, 1999 to February 3, 1999 (Severity, severe direction)

A series of three warning alarms sounds after one test, -1.80 Δ/s from target is reported. The preceding test was –1.721 Δ/s from targett and the follo9wing test was –1.761 Δ/s from target. All three tests were with reference oil 1006, and were run in three different labs.

February 17, 1999 (Severity, severe direction)

One test warning alarm sounds when one tests is reported which is –1.290 Δ/s from target. Alarm clears after one test.

May 21, 1999 to May 22, 1999 (Severity, severe direction)

Two test warning alarm sounds. A series of five results, ranging from –0.45 to –1.3 /s from target are reported, followed by the two results which alarmed and were –1.67 and –2.07 /s from target. Alarm clears after two tests.

August 22, 1999 to October 12, 1999 (Precision)

A one test warning alarm sounds, followed by a two test warning. The current warning alarms was caused by results –1.377 and 0.74 /s from target. Results were from different labs, but on the same oil, 925-3. Alarm clears with next test after 0.74 /s result was reported

February 2, 2000 to March 1, 2000 (Severity, Mild direction)

Warning alarm sounds. Three tests have been reported from two labs with results of 1.619,  0.7835 and 1.5628 /s from target. No definitive lab or stand at this time. Tests were on 2 oils, 925-3 (2) and 1006. Alarm remains in effect on 2/3/00 when a result on reference oil 930 is reported. This results was 1.420 /s from target. Alarm clears on 3/1/00 when a result on oil 1006 which was –0.459 /s from target is reported.

June 20, 2000 to Present (Precision)

Precision alarm begins when a result-2.605 Δ/s from target follows a result 1.079 Δ/s from target. Subsequent results were –1.455, -1.045 and 0.957 Δ/s from target.  Alarm clears on 7/31/00.

Updated: February 12, 2001