SEQUENCE VG AVERAGE PISTON VARNISH INDUSTRY ALARM LOG

March 9, 2000 to March 16, 2000 (Precision)

Start of precision alarm event. Precision alarm starts with a warning alarm on March 9, 2000, when a test on oil 1007, -5.154 /s from target is reported. Action alarm occurs on March 11, 2000. This test was –1.350 /s from target. Alarm clears when a result from a third lab on 1006, -1.150 /s from target is reported. Alarms appear to be lab/stand related.

March 11, 2000 to May 25, 2000 (Severity alarm, Severe direction}

Alarm sounds after two tests, -5.154 and –1.350 /s from target are reported. Results were from different labs on different oils. Alarm goes to action level, when a third result from a third lab is completed on 3/16/00. This result was –1.150 /s from target. Additional results reported on 3/23, 3/24 and 4/08 were –1.208, -1.208 and 1.308 /s from target. All three reults were from the same lab. Alarm continues when a result on reference oil 1007, -1.462 /s from target is reported from the lab which reported a result –5.154 /s from target. Test remains in action alarm when a result –0.650 /s from target is reported on reference oil 1006, run on an existing stand. Alarm finally clears on May 25, 2000.

August 18, 2000 (Severity Alarm, Severe direction)

A one test warning sounds when a result –0.950 Δ/s from target. Alarm clears with next test.

September 2, 2000 to October 21, 2000 (Severity Alarm, Severe direction)

Severity warning alarm sounds after a result on reference oil 1007 which was –1.308 Δ/s from target and remains in effect for one more test when result  –0.900 Δ/s from target is reported. Previous test was on the same oil and was also –1.308 Δ/s from target, but from a different laboratory. Alarm clears with subsequent tests.

Updated: January 3, 2001