SEQUENCE VIA INDUSTRY ALARM LOG

September 3, 1995 to September 10, 1995      ( PRECISION )

There were four warning and two action alarms during this period.    Alarms were influenced by a severe test result of -4.20.    No action taken by surveillance panel, alarms eventually clear.

September 10, 1995      ( SEVERITY )

One test severe warning alarm.

September 24, 1995 to September 29, 1995      ( PRECISION )

There were two warning alarms that occurred during this period.    Alarms were influenced by a mild test result of 3.73.    No action taken by surveillance panel, alarms eventually clear.

October 10, 1995 to October 15, 1995    ( SEVERITY )

There were two severe warning alarms during this period. No identifiable cause for alarms. No action taken by surveillance panel, alarms eventually clear.

November 11, 1995 to December 11, 1995      ( PRECISION )

There were 16 warning and three action alarms during this period.    Alarms were influenced by three mild tests > 2.00 D/s and three severe tests < -2.00 D/s. No action taken by surveillance panel, alarms eventually clear.

December 4, 1995 to December 9, 1995      ( SEVERITY )

There were five mild action and two mild warning alarms during this period.    The alarms were influenced by the three mild tests > 2.00 D/s mentioned above. No action taken by surveillance panel, alarms eventually clear.

January 11, 1996    to January 20, 1996 ( SEVERITY )

There were seven mild alarms during this period, one warning and six action.    There was no identifiable cause for the alarms.    No action taken by surveillance panel, alarms eventually clear.

February 4, 1996    ( SEVERITY )

One test severe warning alarm.

February 28, 1996 to    September 7, 1996 ( SEVERITY and PRECISION )

In precision warning or action alarm for a total of 44 tests, 25 warnings and 19 action.    The precision alarms were a result of three separate severity alarm events.    There were also two tests    in between severity event two and three that had an impact on the precision alarms, 3.13 and 2.93    D/s mild.    These results do not appear to be related to any lab, oil, or engine hardware problem. No action taken by surveillance panel, alarms eventually clear.

Mild severity event one consisting of one action and two warning alarms begins on 02/28/96 and ends on 03/02/96.    This event was influenced by the last test of two different engines that could no longer pass a reference.    The results of these two tests were 3.00 and 2.20 D/s mild. No action taken by surveillance panel, alarms eventually clear.

Mild severity event two consisting of three action and three warning alarms begins on 04/12/96 and ends on 04/24/96.    This event was influenced by a single test result of 4.13 D/s mild. No action taken by surveillance panel, alarms eventually clear.

Mild severity event three consisting of two action and four warning alarms begins on 08/01/96 and ends on 08/31/96.      This event was influenced by the last test of two different engines that could no longer pass a reference.    The results of these two tests were 4.53 and 2.93 D/s mild.    No action taken by surveillance panel, alarms eventually clear.

October 24, 1996 to December 4, 1996 ( SEVERITY )

Severity event consisting of seven mild warning alarms.    No identifiable cause for alarms. No action taken by surveillance panel, alarms eventually clear.

January 23, 1997 to February 19, 1997 ( SEVERITY )

Mild severity event consisting of five action and four warning alarms. This event was influenced by the last test of two different engines that could no longer pass a reference.    The results of these two tests were 3.07 and 3.73 D/s mild. No action taken by surveillance panel, alarms eventually clear.

May 11, 1997    (PRECISION)

One test warning alarm.

June 8, 1997 to September 3, 1997    ( SEVERITY and PRECISION )

In precision warning or action alarms for a total of 22 tests, 20 warning and 2 action alarms.    In severe severity warnings or action alarms for a total of 12 tests, 10 action and 2 warning alarms.    The precision and severity alarms were influenced by the introduction of new engines with test results more severe than typically expected.    The severe results of the new engines caused the severe alarms.    The severe results of the new engines mixed with the milder results of the older engines caused the precision alarms.    Surveillance panel reviewed data and formed a task force to investigate a possible engine hardware problem.

October 1, 1997 to March 31, 1998    ( SEVERITY and PRECISION )

There were numerous severity and precision alarms triggered during this period. The industry mean /s is -0.56 severe for this report period.    The magnitude of industry severity can be attributed to test results from six new engines run at four labs.    The six new engines contributed 29 of the 49 tests results reported this period with a mean /s of -1.23. .    The Precision alarms are attributed to a combination of severe results associated with the new engines and the somewhat mild results from previously calibrated engines.    Surveillance panel believes the alarms are a result of a new batch of engines from A.E.R.

April 1, 1998 to September 30, 1998    ( SEVERITY and PRECISION )

There were numerous severity and precision alarms triggered during this period. The industry mean /s is -1.05 severe for this report period.    The magnitude of industry severity can be attributed to test results from five new engines run at five labs.    The five new engines contributed 26 of the 37 tests results reported this period with a mean /s of -1.84.    The Precision alarms are attributed to a combination of severe results associated with the new engines and the somewhat mild results from previously calibrated engines. Surveillance panel believes the alarms are a result of a new batch of engines from A.E.R.

October 1, 1998 to March 31, 1999    ( SEVERITY and PRECISION )

There were numerous severity alarms triggered this report period.    The severe alarms are attributed to a new engine which was calibrated at the beginning of this report period.    The mild alarms are attributed to the test results from previously calibrated engines.

April 1, 1999 to September 30, 1999    ( SEVERITY and PRECISION )

There were numerous severity alarms triggered this report period.    The mild alarms are attributed to the test results from previously calibrated engines that were calibrated at the beginning of this report period.    The severe alarms are attributed to the test results from the new engines that were calibrated at the end of the report period.    There were 3 precision alarms this report period.    The precision warnings are attributed to a combination of mild test results from the previously calibrated engines and the severe test results associated with the new engines