HIGH TEMPERATURE CYCLIC DURABILITY TEST CYCLES TO FAILURE INDUSTRY ALARM LOG

November 13, 1992 to January 3, 1993 (SEVERITY, Mild direction)

A series of three warning and one action alarm. Alarms were caused by laboratory performance.

January 3, 1994 (PRECISION)

A one test warning alarm, caused by one result, 2.263/s from target, intermixed with other results, closer to target.

August 25, 1995 to September 11, 1995 (PRECISION)

Period of two warning alarms, caused by one result –2.678/s from target.

September 11, 1995 to November 26, 1995 (SEVERITY, Severe direction)

A series of two warning alarms, which clear for one test, followed by two more warning alarms. No definitive reason could be found. Alarms clear themselves.

May 19, 1996 to May 25, 1996 (SEVERITY, Mild direction)

Two warning alarms occur, found to be lab severity issue.

June 11, 1996 (SEVERITY, Mild direction)

One warning alarm, caused by severity in one lab.

September 21, 1996 (SEVERITY, Severe direction)

A warning alarm, caused by lab severity. New lab bringing on new stand.

March 22, 1997 (PRECISION)

A one test warning alarm, no real cause determined.

March 24, 1997 to April 19, 1997 (SEVERITY, Mild direction)

A three test warning alarm, due to laboratory severity.

April 20, 1998 to Present (Severity, Severe Direction)

Start of severity Event. Warning alarm sounds after several results on the new hardware were reported. The last two results on the new hardware have been greater than 1 /s severe.

Updated Friday, July 31, 2026