L60-1 (Carbon Varnish) INDUSTRY ALARM LOG

April 27, 1995  ( Precision )

A single warning alarm event.

November 11, 1995  ( Severity )

One action alarm.  Not an industry alarm event.  Appears to be a lab/stand problem.  One lab/stand reported two results, 3.39 and 3.28 /s mild.

December 21, 1997  to January 4, 1998  ( Severity )

Two warning alarms occurred during this period.  Alarms were a result of one lab reporting five test results  1.6 /s mild.

June 12, 1998  ( Severity )

One severe warning alarm occurred during this period.  There were no identifiable lab, stand or oil problems. Alarms cleared on next test result.

- December 12, 1998 to June 16, 1999 ( Severity )

There were numerous severe EWMA  severity alarms that occurred during this period.  Alarms were caused by test results conducted with gears that had a change in the steel metallurgy. The manufacturer (Boston Gear) has indicated the change occurred approximately one year ago.  It appears that labs have just started to test with these gears.  The surveillance panel has instructed laboratories not to test with these gears and a new gear order with the old metallurgy has been placed with the manufacturer.