## L-60 Varnish (New Procedure)
ASTM Gear Calibration Workshop
San Antonio, TX January 20, 21, 22 & 23, 2009
L-60 GEARS Varnish (Large Gear Only)
Original
SET # | 4 | 6 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 29 | 30 | 33 | MAX | MIN | AVG | Std Dev | Rating | OIL | TMC #
1 |  |  |  | 8.99 | 8.56 | 8.6 | 8.95 |  | 9.08 |  |  | 8.6 | 9.08 | 8.56 | 8.7967 | 0.23432 | 8.2 | 151-2 | 3
2 |  |  |  | 7.55 | 7.92 | 7.95 | 8.78 |  | 8.48 |  |  | 8.1 | 8.78 | 7.55 | 8.13 | 0.4379 | 7.5 | 148-1 | 6
3 |  |  |  | 9.3 | 9.55 | 9.3 | 9.5 |  | 9.45 |  |  | 9.55 | 9.55 | 9.3 | 9.4417 | 0.11583 | 8.6 | 151-2 | 13
4 |  |  |  | 5.93 | 4.48 | 5.94 | 6.04 |  | 5.1 |  |  | 4.01 | 6.04 | 4.01 | 5.25 | 0.86204 |  | NRO | 14
5 |  |  |  | 7.89 | 7.85 | 7.9 | 8 |  | 7.55 |  |  | 8 | 8 | 7.55 | 7.865 | 0.16598 | 7.8 | 148-1 | 8
6 |  |  |  | 5 | 5.5 | 6.25 | 7.5 |  | 4.88 |  |  | 3.45 | 7.5 | 3.45 | 5.43 | 1.3689 |  | NRO | 10
7 |  |  |  | 9.05 | 8 | 8.4 | 9 |  | 9.35 |  |  | 9.25 | 9.35 | 8 | 8.8417 | 0.5286 | 8 | 151-2 | 12
8 |  |  |  | 8.99 | 8.6 | 8.3 | 9.5 |  | 9.15 |  |  | 9.05 | 9.5 | 8.3 | 8.9317 | 0.42358 | 8.4 | 151-2 | 17
9 |  |  |  | 9.45 | 9.3 | 9.5 | 9.8 |  | 9.6 |  |  | 9.45 | 9.8 | 9.3 | 9.5167 | 0.16931 | 9 | 151-2 | 18
10 |  |  |  | 7.75 | 8.3 | 8 | 8.5 |  | 8.05 |  |  | 8.6 | 8.6 | 7.75 | 8.2 | 0.32404 | 7.1 | 148-1 | 20
Rater 33 is not rating L-60-1 reference or non-reference oil tests at their respective labs.

## L-33
ASTM Gear Calibration Workshop
San Antonio, TX January 20, 21, 22 & 23, 2009
L-33 GEARS
| RATER | [16 empty] | Original
Set # | AREA | 4 | 6 | 7 | 10 | 11 | 22 | 25 | *27 | 30 | 31 | *33 | MAX | MIN | AVG | Std Dev | CMIR | RESULTS | OIL
1C | 1 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 | 65615 | 10 | 123-2
1C | 2 |  |  |  | 10 | 9 | 10 |  | 9 |  |  | 10 | 10 | 9 | 9.6 | 0.54772 |  | 10
1C | 3 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
1C | 4 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
1C | 5 |  |  |  | 9 | 9 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.8 | 0.44721 |  | 9
1C | 6 |  |  |  | 9 | 9 | 8 |  | 9 |  |  | 10 | 10 | 8 | 9 | 0.70711 |  | 8
1C | 7 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 8 | 9 | 8 | 8.2 | 0.44721 |  | 8
1C | 8 |  |  |  | 9 | 9 | 9 |  | 9 |  |  | 10 | 10 | 9 | 9.2 | 0.44721 |  | 8
1C | 9 |  |  |  | 8 | 8 | 8 |  | 10 |  |  | 9 | 10 | 8 | 8.6 | 0.89443 |  | 8
1C | 10 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 8 | 9 | 8 | 8.2 | 0.44721 |  | 8
| Total Rust |  |  |  | 8.989 | 8.796 | 9.001 |  | 9.083 |  |  | 9.222 | 9.222 | 8.796 | 9.0182 | 0.15512 |  | 8.8
| Yi |  |  |  | 0.95769 | 0.21538 | 1.0038 |  | 1.3192 |  |  | 1.8538 | [5 empty] | 0.23
2C | 1 |  |  |  | 9 | 9 | 9 |  | 10 |  |  | 9 | 10 | 9 | 9.2 | 0.44721 | 58931 | 9 | 155
2C | 2 |  |  |  | 9 | 9 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.8 | 0.44721 |  | 9
2C | 3 |  |  |  | 9 | 9 | 8 |  | 9 |  |  | 8 | 9 | 8 | 8.6 | 0.54772 |  | 9
2C | 4 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 8 | 9 | 8 | 8.2 | 0.44721 |  | 8
2C | 5 |  |  |  | 8 | 10 | 10 |  | 10 |  |  | 10 | 10 | 8 | 9.6 | 0.89443 |  | 10
2C | 6 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
2C | 7 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
2C | 8 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 9 | 10 | 9 | 9.8 | 0.44721 |  | 10
2C | 9 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
2C | 10 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
| Total Rust |  |  |  | 9.13 | 9.288 | 9.001 |  | 9.544 |  |  | 9.111 | 9.544 | 9.001 | 9.2148 | 0.2106 |  | 9.3
| Yi |  |  |  | -1.8 | -1.168 | -2.316 |  | -0.144 |  |  | -1.876 | [5 empty] | -1.12
3 | 1 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 | 58225 | 10 | 151-3
3 | 2 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
3 | 3 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
3 | 4 |  |  |  | 9 | 9 | 10 |  | 10 |  |  | 9 | 10 | 9 | 9.4 | 0.54772 |  | 9
3 | 5 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
3 | 6 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
3 | 7 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
3 | 8 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
3 | 9 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 9 | 10 | 9 | 9.8 | 0.44721 |  | 10
3 | 10 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
| Total Rust |  |  |  | 9.831 | 9.831 | 10 |  | 10 |  |  | 9.76 | 10 | 9.76 | 9.8844 | 0.10944 |  | 9.8
| Yi |  |  |  | 0.764 | 0.764 | 1.44 |  | 1.44 |  |  | 0.48 |  |  | 0.9776 |  |  | 0.64
4 | 1 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 | 58894 | 10 | 155
4 | 2 |  |  |  | 8 | 8 | 9 |  | 9 |  |  | 8 | 9 | 8 | 8.4 | 0.54772 |  | 8
4 | 3 |  |  |  | 8 | 8 | 9 |  | 9 |  |  | 8 | 9 | 8 | 8.4 | 0.54772 |  | 8
4 | 4 |  |  |  | 9 | 9 | 9 |  | 9 |  |  | 9 | 9 | 9 | 9 | 0 |  | 9
4 | 5 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
4 | 6 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
4 | 7 |  |  |  | 10 | 10 | 10 |  | 9 |  |  | 9 | 10 | 9 | 9.6 | 0.54772 |  | 10
4 | 8 |  |  |  | 10 | 10 | 10 |  | 9 |  |  | 9 | 10 | 9 | 9.6 | 0.54772 |  | 10
4 | 9 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
4 | 10 |  |  |  | 10 | 10 | 10 |  | 10 |  |  | 10 | 10 | 10 | 10 | 0 |  | 10
| Total Rust |  |  |  | 9.257 | 9.257 | 9.544 |  | 9.41 |  |  | 9.123 | 9.544 | 9.123 | 9.3182 | 0.16202 |  | 9.3
| Yi |  |  |  | -1.292 | -1.292 | -0.144 |  | -0.68 |  |  | -1.828 |  |  | -1.0472 |  |  | -1.12
5 | 1 |  |  |  | 10 | 10 | 10 |  | 9 |  |  | 10 | 10 | 9 | 9.8 | 0.44721 | 50420 | 10 | 123-2
5 | 2 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
5 | 3 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 8 | 9 | 8 | 8.2 | 0.44721 |  | 8
5 | 4 |  |  |  | 9 | 8 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.6 | 0.54772 |  | 8
5 | 5 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
5 | 6 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
5 | 7 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.4 | 0.54772 |  | 8
5 | 8 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.4 | 0.54772 |  | 8
5 | 9 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.4 | 0.54772 |  | 8
5 | 10 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
| Total Rust |  |  |  | 8.343 | 8.174 | 8.174 |  | 8.555 |  |  | 8.548 | 8.555 | 8.174 | 8.3588 | 0.18897 |  | 8.2
| Yi |  |  |  | -1.5269 | -2.1769 | -2.1769 |  | -0.71154 |  |  | -0.73846 |  |  | -1.4662 |  |  | -2.08
RE-Rate
R1/5 | 1 |  |  |  | 9 | 10 | 10 |  | 10 |  |  | 10 | 10 | 9 | 9.8 | 0.44721 | 50420 | 10 | 123-2 | SR
R1/5 | 2 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
R1/5 | 3 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 8 | 9 | 8 | 8.2 | 0.44721 |  | 8
R1/5 | 4 |  |  |  | 9 | 8 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.6 | 0.54772 |  | 8
R1/5 | 5 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
R1/5 | 6 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
R1/5 | 7 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 9 | 9 | 8 | 8.2 | 0.44721 |  | 8
R1/5 | 8 |  |  |  | 8 | 8 | 8 |  | 9 |  |  | 9 | 9 | 8 | 8.4 | 0.54772 |  | 8
R1/5 | 9 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 9 | 9 | 8 | 8.2 | 0.44721 |  | 8
R1/5 | 10 |  |  |  | 8 | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 | 8 | 0 |  | 8
| Total Rust | 0 |  |  | 8.256 | 8.174 | 8.174 |  | 8.52 |  |  | 8.548 | 8.548 | 0 | 6.9453 | 3.4065 |  | 8.2
| Yi | -33.6154 |  |  | -1.8615 | -2.1769 | -2.1769 |  | -0.84615 |  |  | -0.73846 | [5 empty] | -2.08
*Raters 27 and 33 are not rating L-33-1 reference or non-reference oil tests at their respective labs.

## L-37 Pinion
ASTM Gear Calibration Workshop
San Antonio, TX January 20, 21, 22 & 23, 2009
L-37 PINION GEARS
[20 empty] | RCMS | RCMS
SET # | DISTRESS | 4 | 6 | 7 | 10 | 11 | 22 | 25 | *27 | 28 | 29 | 30 | 31 | 32 | *33 | MAX | MIN | AVG | Std Dev | Pinion # | Mean
1C | Ridging |  |  |  | 9 | 9 | 9 |  | 8 | [5 empty] | 9 | 9 | 8 | 8.8 | 0.44721 | 7 | 9.2
1C | Rippling |  |  |  | 8 | 9 | 9 |  | 8 | [5 empty] | 9 | 9 | 8 | 8.6 | 0.54772 |  | 8.6
1C | Wear |  |  |  | 7 | 6 | 6 |  | 6 | [5 empty] | 5 | 7 | 5 | 6 | 0.70711 |  | 7.8
1C | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.8 | 9.9 | 9.8 | 9.88 | 0.044721 |  | 9.87
1C | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
2C | Ridging |  |  |  | 7 | 5 | 6 |  | 6 | [5 empty] | 6 | 7 | 5 | 6 | 0.70711 | 15 | 5.6
2C | Rippling |  |  |  | 9 | 8 | 9 |  | 8 | [5 empty] | 8 | 9 | 8 | 8.4 | 0.54772 |  | 8.6
2C | Wear |  |  |  | 6 | 5 | 6 |  | 6 | [5 empty] | 4 | 6 | 4 | 5.4 | 0.89443 |  | 5.4
2C | Spitting |  |  |  | 8 | 8 | 8 |  | 8 | [5 empty] | 8 | 8 | 8 | 8 | 0 |  | 7.56
2C | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
3C | Ridging |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.2 | 0.44721 | 30 | 9.1
3C | Rippling |  |  |  | 5 | 4 | 5 |  | 6 | [5 empty] | 6 | 6 | 4 | 5.2 | 0.83666 |  | 4.6
3C | Wear |  |  |  | 6 | 6 | 6 |  | 7 | [5 empty] | 5 | 7 | 5 | 6 | 0.70711 |  | 6.1
3C | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.89
3C | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
4C | Ridging |  |  |  | 10 | 10 | 9 |  | 9 | [5 empty] | 9 | 10 | 9 | 9.4 | 0.54772 | 32 | 9.5
4C | Rippling |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 8 | 9 | 8 | 8.8 | 0.44721 |  | 8.9
4C | Wear |  |  |  | 7 | 7 | 7 |  | 7 | [5 empty] | 6 | 7 | 6 | 6.8 | 0.44721 |  | 7.4
4C | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.89
4C | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
5 | Ridging |  |  |  | 7 | 7 | 8 |  | 9 | [5 empty] | 8 | 9 | 7 | 7.8 | 0.83666 | 35 | 7.7
5 | Rippling |  |  |  | 4 | 5 | 5 |  | 5 | [5 empty] | 6 | 6 | 4 | 5 | 0.70711 |  | 4.8
5 | Wear |  |  |  | 6 | 6 | 7 |  | 7 | [5 empty] | 8 | 8 | 6 | 6.8 | 0.83666 |  | 6.7
5 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9
5 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
6 | Ridging |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 9 | 9 | 0 | 43 | 9
6 | Rippling |  |  |  | 10 | 10 | 10 |  | 9 | [5 empty] | 9 | 10 | 9 | 9.6 | 0.54772 |  | 9.3
6 | Wear |  |  |  | 7 | 6 | 7 |  | 6 | [5 empty] | 8 | 8 | 6 | 6.8 | 0.83666 |  | 6.8
6 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9
6 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
7 | Ridging |  |  |  | 6 | 5 | 6 |  | 5 | [5 empty] | 5 | 6 | 5 | 5.4 | 0.54772 | 47 | 5
7 | Rippling |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 9 | 9 | 0 |  | 8.7
7 | Wear |  |  |  | 6 | 6 | 6 |  | 6 | [5 empty] | 5 | 6 | 5 | 5.8 | 0.44721 |  | 6.2
7 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.88
7 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
8 | Ridging |  |  |  | 5 | 6 | 6 |  | 6 | [5 empty] | 5 | 6 | 5 | 5.6 | 0.54772 | 52 | 5.4
8 | Rippling |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 9 | 9 | 0 |  | 8.8
8 | Wear |  |  |  | 6 | 6 | 6 |  | 6 | [5 empty] | 5 | 6 | 5 | 5.8 | 0.44721 |  | 6.1
8 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9
8 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
9 | Ridging |  |  |  | 8 | 10 | 8 |  | 9 | [5 empty] | 9 | 10 | 8 | 8.8 | 0.83666 | 54 | 8.8
9 | Rippling |  |  |  | 9 | 10 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.4 | 0.54772 |  | 9.2
9 | Wear |  |  |  | 6 | 6 | 6 |  | 7 | [5 empty] | 6 | 7 | 6 | 6.2 | 0.44721 |  | 6.8
9 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9
9 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
10 | Ridging |  |  |  | 9 | 8 | 8 |  | 8 | [5 empty] | 9 | 9 | 8 | 8.4 | 0.54772 | 56 | 8.6
10 | Rippling |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 9 | 9 | 0 |  | 8.9
10 | Wear |  |  |  | 7 | 8 | 7 |  | 6 | [5 empty] | 8 | 8 | 6 | 7.2 | 0.83666 |  | 7.2
10 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.88
10 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
11 | Ridging |  |  |  | 8 | 8 | 9 |  | 9 | [5 empty] | 8 | 9 | 8 | 8.4 | 0.54772 | 59 | 8.3
11 | Rippling |  |  |  | 6 | 6 | 6 |  | 6 | [5 empty] | 6 | 6 | 6 | 6 | 0 |  | 5.5
11 | Wear |  |  |  | 6 | 6 | 5 |  | 7 | [5 empty] | 6 | 7 | 5 | 6 | 0.70711 |  | 5.7
11 | Spitting |  |  |  | 8 | 8 | 9 |  | 9.3 | [5 empty] | 9 | 9.3 | 8 | 8.66 | 0.61482 |  | 8.6
11 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
12 | Ridging |  |  |  | 9 | 9 | 9 |  | 10 | [5 empty] | 9 | 10 | 9 | 9.2 | 0.44721 | 60 | 9.1
12 | Rippling |  |  |  | 8 | 10 | 9 |  | 10 | [5 empty] | 10 | 10 | 8 | 9.4 | 0.89443 |  | 8.7
12 | Wear |  |  |  | 7 | 8 | 7 |  | 8 | [5 empty] | 8 | 8 | 7 | 7.6 | 0.54772 |  | 7.9
12 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9
12 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
RERATE
R1/6 | Ridging |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 9 | 9 | 0 | 43 | 9
R1/6 | Rippling |  |  |  | 10 | 10 | 10 |  | 9 | [5 empty] | 9 | 10 | 9 | 9.6 | 0.54772 |  | 9.3
R1/6 | Wear |  |  |  | 7 | 6 | 7 |  | 6 | [5 empty] | 6 | 7 | 6 | 6.4 | 0.54772 |  | 6.8
R1/6 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9
R1/6 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
R2/7 | Ridging |  |  |  | 6 | 5 | 5 |  | 6 | [5 empty] | 8 | 8 | 5 | 6 | 1.2247 | 47 | 5
R2/7 | Rippling |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 9 | 9 | 0 |  | 8.7
R2/7 | Wear |  |  |  | 6 | 6 | 6 |  | 6 | [5 empty] | 6 | 6 | 6 | 6 | 0 |  | 6.2
R2/7 | Spitting |  |  |  | 9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9 | 9.72 | 0.40249 |  | 9.88
R2/7 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
R3/11 | Ridging |  |  |  | 8 | 8 | 9 |  | 9 | [5 empty] | 9 | 9 | 8 | 8.6 | 0.54772 | 59 | 8.3
R3/11 | Rippling |  |  |  | 6 | 6 | 9 |  | 6 | [5 empty] | 8 | 9 | 6 | 7 | 1.4142 |  | 5.5
R3/11 | Wear |  |  |  | 6 | 6 | 5 |  | 7 | [5 empty] | 7 | 7 | 5 | 6.2 | 0.83666 |  | 5.7
R3/11 | Spitting |  |  |  | 8 | 8 | 9 |  | 9 | [5 empty] | 9 | 9 | 8 | 8.6 | 0.54772 |  | 8.6
R3/11 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
R4/12 | Ridging |  |  |  | 9 | 9 | 9 |  | 10 | [5 empty] | 9 | 10 | 9 | 9.2 | 0.44721 | 60 | 9.1
R4/12 | Rippling |  |  |  | 9 | 10 | 9 |  | 9 | [5 empty] | 9 | 10 | 9 | 9.2 | 0.44721 |  | 8.7
R4/12 | Wear |  |  |  | 8 | 8 | 7 |  | 8 | [5 empty] | 8 | 8 | 7 | 7.8 | 0.44721 |  | 7.9
R4/12 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9
R4/12 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
Raters 27 and 33 are not rating L-37 reference or non-reference oil tests at their respective labs.

## L-37 Ring
ASTM Gear Calibration Workshop
San Antonio, TX January 20, 21, 22 & 23, 2009
L-37 RING GEARS
SET # | DISTRESS | 4 | 6 | 7 | 10 | 11 | 22 | 25 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | MAX | MIN | AVG | Std Dev
1C | Ridging |  |  |  | 6 | 5 | 6 |  | 5 | [5 empty] | 5 | 6 | 5 | 5.4 | 0.54772
| Rippling |  |  |  | 8 | 9 | 10 |  | 9 | [5 empty] | 8 | 10 | 8 | 8.8 | 0.83666
| Wear |  |  |  | 4 | 6 | 6 |  | 6 | [5 empty] | 5 | 6 | 4 | 5.4 | 0.89443
| Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.7 | 9.9 | 9.7 | 9.86 | 0.089443
| Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
2C | Ridging |  |  |  | 10 | 9 | 10 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.8 | 0.44721
| Rippling |  |  |  | 10 | 10 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.6 | 0.54772
| Wear |  |  |  | 8 | 8 | 7 |  | 7 | [5 empty] | 8 | 8 | 7 | 7.6 | 0.54772
| Spitting |  |  |  | 9.9 | 10 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 10 | 9.9 | 9.92 | 0.044721
| Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
3C | Ridging |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.2 | 0.44721
| Rippling |  |  |  | 10 | 10 | 10 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.8 | 0.44721
| Wear |  |  |  | 8 | 8 | 8 |  | 7 | [5 empty] | 9 | 9 | 7 | 8 | 0.70711
| Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0
| Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
4C | Ridging |  |  |  | 10 | 10 | 10 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.8 | 0.44721
| Rippling |  |  |  | 10 | 10 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.6 | 0.54772
| Wear |  |  |  | 8 | 8 | 8 |  | 7 | [5 empty] | 8 | 8 | 7 | 7.8 | 0.44721
| Spitting |  |  |  | 9.9 | 10 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 10 | 9.9 | 9.92 | 0.044721
| Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
5 | Ridging |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
5 | Rippling |  |  |  | 10 | 10 | 9 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.8 | 0.44721
5 | Wear |  |  |  | 9 | 9 | 8 |  | 8 | [5 empty] | 8 | 9 | 8 | 8.4 | 0.54772
5 | Spitting |  |  |  | 9.9 | 10 | 9.9 |  | 9.8 | [5 empty] | 9.9 | 10 | 9.8 | 9.9 | 0.070711
5 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
6 | Ridging |  |  |  | 8 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 8 | 8.8 | 0.44721
6 | Rippling |  |  |  | 10 | 10 | 9 |  | 10 | [5 empty] | 9 | 10 | 9 | 9.6 | 0.54772
6 | Wear |  |  |  | 6 | 6 | 7 |  | 7 | [5 empty] | 8 | 8 | 6 | 6.8 | 0.83666
6 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.8 | 9.9 | 9.8 | 9.88 | 0.044721
6 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
7 | Ridging |  |  |  | 9 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.8 | 0.44721
7 | Rippling |  |  |  | 10 | 10 | 9 |  | 9 | [5 empty] | 9 | 10 | 9 | 9.4 | 0.54772
7 | Wear |  |  |  | 8 | 8 | 8 |  | 8 | [5 empty] | 8 | 8 | 8 | 8 | 0
7 | Spitting |  |  |  | 10 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.8 | 10 | 9.8 | 9.9 | 0.070711
7 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
8 | Ridging |  |  |  | 9 | 10 | 9 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.6 | 0.54772
8 | Rippling |  |  |  | 10 | 10 | 9 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.8 | 0.44721
8 | Wear |  |  |  | 8 | 8 | 7 |  | 8 | [5 empty] | 8 | 8 | 7 | 7.8 | 0.44721
8 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0
8 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
9 | Ridging |  |  |  | 9 | 10 | 9 |  | 10 | [5 empty] | 9 | 10 | 9 | 9.4 | 0.54772
9 | Rippling |  |  |  | 10 | 10 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.6 | 0.54772
9 | Wear |  |  |  | 8 | 7 | 7 |  | 7 | [5 empty] | 8 | 8 | 7 | 7.4 | 0.54772
9 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0
9 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
10 | Ridging |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
10 | Rippling |  |  |  | 10 | 10 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.6 | 0.54772
10 | Wear |  |  |  | 8 | 8 | 7 |  | 7 | [5 empty] | 8 | 8 | 7 | 7.6 | 0.54772
10 | Spitting |  |  |  | 9.9 | 10 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 10 | 9.9 | 9.92 | 0.044721
10 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
R1/6 | Ridging |  |  |  | 9 | 9 | 9 |  | 9 | [5 empty] | 9 | 9 | 9 | 9 | 0
R1/6 | Rippling |  |  |  | 10 | 10 | 9 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.8 | 0.44721
R1/6 | Wear |  |  |  | 6 | 6 | 7 |  | 7 | [5 empty] | 8 | 8 | 6 | 6.8 | 0.83666
R1/6 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0
R1/6 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
R2/8 | Ridging |  |  |  | 9 | 10 | 9 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.6 | 0.54772
R2/8 | Rippling |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 9 | 10 | 9 | 9.8 | 0.44721
R2/8 | Wear |  |  |  | 8 | 8 | 7 |  | 8 | [5 empty] | 8 | 8 | 7 | 7.8 | 0.44721
R2/8 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.9 | [5 empty] | 9.9 | 9.9 | 9.9 | 9.9 | 0
R2/8 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
R3/9 | Ridging |  |  |  | 9 | 10 | 9 |  | 10 | [5 empty] | 10 | 10 | 9 | 9.6 | 0.54772
R3/9 | Rippling |  |  |  | 9 | 10 | 9 |  | 9 | [5 empty] | 10 | 10 | 9 | 9.4 | 0.54772
R3/9 | Wear |  |  |  | 8 | 7 | 7 |  | 7 | [5 empty] | 8 | 8 | 7 | 7.4 | 0.54772
R3/9 | Spitting |  |  |  | 9.9 | 9.9 | 9.9 |  | 9.8 | [5 empty] | 9.9 | 9.9 | 9.8 | 9.88 | 0.044721
R3/9 | Scoring |  |  |  | 10 | 10 | 10 |  | 10 | [5 empty] | 10 | 10 | 10 | 10 | 0
Raters 27 and 33 are not rating L-37 reference or non-reference oil tests at their respective labs.

## L-42
ASTM Gear Calibration Workshop
San Antonio, TX January 20, 21, 22 & 23, 2009
L-42 GEARS
SET # |  | 4 | 6 | 7 | 10 | 11 | *16 | 22 | 25 | *27 | 29 | 30 | 31 | 32 | *33 | MAX | MIN | AVG | Std Dev | RCMS # | RCMS Mean
1C | Pinion |  |  |  | 16 | 17 | 12 | 18 |  | 18 |  |  |  |  | 16 | 18 | 12 | 16.1667 | 2.2286 | 1 | 17.5
1C | Ring |  |  |  | 11 | 9 | 8 | 7 |  | 15 |  |  |  |  | 8 | 15 | 7 | 9.6667 | 2.9439 |  | 9.8
2C | Pinion |  |  |  | 16 | 16 | 18 | 15 |  | 16 |  |  |  |  | 8 | 18 | 8 | 14.8333 | 3.4881 | 7 | 14.8
2C | Ring |  |  |  | 8 | 8 | 8 | 10 |  | 12 |  |  |  |  | 12 | 12 | 8 | 9.6667 | 1.9664 |  | 10.6
3C | Pinion |  |  |  | 17 | 24 | 20 | 19 |  | 21 |  |  |  |  | 9 | 24 | 9 | 18.3333 | 5.1251 | 9 | 21.5
3C | Ring |  |  |  | 13 | 14 | 13 | 14 |  | 12 |  |  |  |  | 12 | 14 | 12 | 13 | 0.89443 |  | 14.9
4C | Pinion |  |  |  | 8 | 10 | 13 | 9 |  | 8 |  |  |  |  | 15 | 15 | 8 | 10.5 | 2.881 | 15 | 9.8
4C | Ring |  |  |  | 5 | 5 | 7 | 6 |  | 6 |  |  |  |  | 7 | 7 | 5 | 6 | 0.89443 |  | 5.4
5 | Pinion |  |  |  | 15 | 15 | 12 | 14 |  | 11 |  |  |  |  | 18 | 18 | 11 | 14.1667 | 2.4833 | 17 | 14.8
5 | Ring |  |  |  | 9 | 8 | 8 | 8 |  | 8 |  |  |  |  | 7 | 9 | 7 | 8 | 0.63246 |  | 8.8
6 | Pinion |  |  |  | 15 | 11 | 12 | 13 |  | 13 |  |  |  |  | 14 | 15 | 11 | 13 | 1.4142 | 18 | 12.7
6 | Ring |  |  |  | 8 | 7 | 7 | 8 |  | 9 |  |  |  |  | 7 | 9 | 7 | 7.6667 | 0.8165 |  | 7.5
7 | Pinion |  |  |  | 14 | 12 | 9 | 12 |  | 12 |  |  |  |  | 16 | 16 | 9 | 12.5 | 2.3452 | 19 | 12.3
7 | Ring |  |  |  | 7 | 6 | 5 | 8 |  | 6 |  |  |  |  | 5 | 8 | 5 | 6.1667 | 1.169 |  | 6.8
8 | Pinion |  |  |  | 20 | 19 | 12 | 20 |  | 18 |  |  |  |  | 20 | 20 | 12 | 18.1667 | 3.1252 | 23 | 20.7
8 | Ring |  |  |  | 14 | 13 | 9 | 14 |  | 12 |  |  |  |  | 9 | 14 | 9 | 11.8333 | 2.3166 |  | 14.5
9 | Pinion |  |  |  | 26 | 28 | 22 | 25 |  | 24 |  |  |  |  | 30 | 30 | 22 | 25.8333 | 2.8577 | 30 | 24.4
9 | Ring |  |  |  | 16 | 14 | 12 | 15 |  | 14 |  |  |  |  | 14 | 16 | 12 | 14.1667 | 1.3292 |  | 17.6
10 | Pinion |  |  |  | 28 | 23 | 20 | 23 |  | 23 |  |  |  |  | 31 | 31 | 20 | 24.6667 | 4.0332 | 31 | 27.9
10 | Ring |  |  |  | 19 | 13 | 14 | 18 |  | 17 |  |  |  |  | 21 | 21 | 13 | 17 | 3.0332 |  | 19.7
RERATE
R1/8 | Pinion |  |  |  | 22 | 23 | 17 | 21 |  | 17 |  |  |  |  | 27 | 27 | 17 | 21.1667 | 3.8166 | 23
R1/8 | Ring |  |  |  | 15 | 14 | 11 | 15 |  | 13 |  |  |  |  | 11 | 15 | 11 | 13.1667 | 1.8348
R2/9 | Pinion |  |  |  | 25 | 27 | 27 | 28 |  | 23 |  |  |  |  | 31 | 31 | 23 | 26.8333 | 2.7142 | 30
R2/9 | Ring |  |  |  | 15 | 15 | 12 | 16 |  | 14 |  |  |  |  | 13 | 16 | 12 | 14.1667 | 1.472
*Raters 16, 27, and 33 are not rating L-421 reference or non-reference oil tests at their respective labs.

## L-60 Sludge
ASTM Gear Calibration Workshop
San Antonio, TX January 20, 21, 22 & 23, 2009
L-60 GEARS Sludge (Large Gear Only)
SET # | 4 | 6 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 29 | 30 | 33 | MAX | MIN | AVG | Std Dev
1C |  |  |  | 9.72 | 9.56 | 9.55 | 9.66 |  | 9.71 |  |  | 9.5 | 9.72 | 9.5 | 9.6167 | 0.092232
2C |  |  |  | 9.75 | 9.63 | 9.63 | 9.74 |  | 9.74 |  |  | 9.7 | 9.75 | 9.63 | 9.6983 | 0.055648
3C |  |  |  | 9.75 | 9.63 | 9.69 | 9.75 |  | 9.75 |  |  | 9.75 | 9.75 | 9.63 | 9.72 | 0.0502
4C |  |  |  | 9.67 | 9.72 | 9.5 | 9.75 |  | 9.61 |  |  | 9.7 | 9.75 | 9.5 | 9.6583 | 0.091086
5 |  |  |  | 9.75 | 9.65 | 9.57 | 9.75 |  | 9.75 |  |  | 9.7 | 9.75 | 9.57 | 9.695 | 0.073144
6 |  |  |  | 9.69 | 9.5 | 9.5 | 9.75 |  | 9.7 |  |  | 9.45 | 9.75 | 9.45 | 9.5983 | 0.12891
7 |  |  |  | 9.75 | 9.69 | 9.57 | 9.75 |  | 9.75 |  |  | 9.7 | 9.75 | 9.57 | 9.7017 | 0.069976
8 |  |  |  | 9.74 | 9.6 | 9.5 | 9.73 |  | 9.74 |  |  | 9.65 | 9.74 | 9.5 | 9.66 | 0.096954
9 |  |  |  | 9.75 | 9.75 | 9.75 | 9.75 |  | 9.75 |  |  | 9.65 | 9.75 | 9.65 | 9.7333 | 0.040825
10 |  |  |  | 9.75 | 9.65 | 9.57 | 9.75 |  | 9.75 |  |  | 9.65 | 9.75 | 9.57 | 9.6867 | 0.075277
RERATE
R1/9 |  |  |  | 9.75 | 9.7 | 9.63 | 9.75 |  | 9.75 |  |  | 9.7 | 9.75 | 9.63 | 9.7133 | 0.04761
R2/10 |  |  |  | 9.75 | 9.6 | 9.57 | 9.75 |  | 9.75 |  |  | 9.5 | 9.75 | 9.5 | 9.6533 | 0.11075
Rater 33 is not rating L-60-1 reference or non-reference oil tests at their respective labs.

## L-60 Varnish
ASTM Gear Calibration Workshop
San Antonio, TX January 20, 21, 22 & 23, 2009
L-60 GEARS Varnish (Large Gear Only)
Original
SET # | 4 | 6 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 29 | 30 | 33 | MAX | MIN | AVG | Std Dev | Rating | OIL | TMC #
1C |  |  |  | 8.85 | 8.58 | 9.2 | 7.95 |  | 8.52 |  |  | 8.9 | 9.2 | 7.95 | 8.6667 | 0.42782 | 8.2 | 151-2 | 3
2C |  |  |  | 7.9 | 7.91 | 8.1 | 7.75 |  | 7.35 |  |  | 8.55 | 8.55 | 7.35 | 7.9267 | 0.39581 | 7.5 | 148-1 | 6
3C |  |  |  | 9.2 | 9.56 | 9.4 | 8.85 |  | 9.2 |  |  | 9.35 | 9.56 | 8.85 | 9.26 | 0.24207 | 8.6 | 151-2 | 13
4C |  |  |  | 4.72 | 5 | 5.8 | 5.76 |  | 4.91 |  |  | 4.6 | 4.6 | 4.6 | 5.1317 | 0.52155 |  | NRO | 14
5 |  |  |  | 8.1 | 8.13 | 7.96 | 7.65 |  | 7.4 |  |  | 7.9 | 8.13 | 7.4 | 7.8567 | 0.28204 | 7.8 | 148-1 | 8
6 |  |  |  | 4.78 | 4.5 | 5.63 | 5.4 |  | 5.02 |  |  | 5.45 | 5.63 | 4.5 | 5.13 | 0.43745 |  | NRO | 10
7 |  |  |  | 9 | 8.92 | 9 | 7.8 |  | 9.1 |  |  | 9.2 | 9.2 | 7.8 | 8.8367 | 0.51698 | 8 | 151-2 | 12
8 |  |  |  | 9.2 | 9.08 | 9.1 | 7.8 |  | 8.75 |  |  | 9 | 9.2 | 7.8 | 8.8217 | 0.52308 | 8.4 | 151-2 | 17
9 |  |  |  | 9.45 | 9.5 | 9.2 | 8.7 |  | 9.4 |  |  | 9.6 | 9.6 | 8.7 | 9.3083 | 0.32622 | 9 | 151-2 | 18
10 |  |  |  | 8 | 8.35 | 8.1 | 7.55 |  | 8 |  |  | 7.95 | 8.35 | 7.55 | 7.9917 | 0.25965 | 7.1 | 148-1 | 20
RERATE
R1/9 |  |  |  | 9.5 | 9.52 | 9.1 | 9.2 |  | 9.35 |  |  | 9.3 | 9.52 | 9.1 | 9.3283 | 0.16497 | 9 | 151-2 | 18
R2/10 |  |  |  | 8 | 8.25 | 8.1 | 7.75 |  | 8.05 |  |  | 7.95 | 8.25 | 7.75 | 8.0167 | 0.16633 | 7.1 | 148-1 | 20
Rater 33 is not rating L-60-1 reference or non-reference oil tests at their respective labs.

## Comments
L-33-1: Raters 27 and 33 are not rating L-33-1 reference or non-reference oil tests at their respective labs.
L-37: Raters 27 and 33 are not rating L-371 reference or non-reference oil tests at their respective labs.
L-42: Raters 16, 27, and 33 are not rating L-421 reference or non-reference oil tests at their respective labs.
L-60-1: Rater 33 is not rating L-60-1 reference or non-reference oil tests at their respective labs.