## L-33
ASTM Gear Calibration Workshop
Lubrizol, Wickliffe, OH, July 12-14, 2022
L-33 GEARS
|  | Yanchar | Rose | Sanchez, A | Radonich | Adams | Rodriguez | Kozlowski | Lopez |  | Stocks | Foecking | Hayden | Barrera |  | Lonsway | Aguirre | Trevino | Kozak | Kraemer | Potocar | Dominguez | DeCapite | Bolaney | Beard | Schwenk | Sanchez, C | [8 empty] | Chalkley |  | Austin | Brown | Ragsdale | Beck | [6 empty] | Original
Set # | AREA | 4 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 28 | 29 | 30 | 32 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 48 | 57 | 58 | 59 |  | 60 | 61 | MIN | MAX | AVG | Std Dev | CMIR | Results | Oil
1C | 1 | 10: 10; 32: 9; 36: 10; 43: 10; 44: 10; 48: 10; 58: 10; 59: 10 | 10 | 10 |  | 9 | 10 | 9.8 | 0.44721 | 150068 | 10 | 155-1
1C | 2 | 10: 8; 32: 9; 36: 8; 43: 8; 44: 8; 48: 9; 58: 8; 59: 9 | 8 | 9 |  | 8 | 9 | 8.2 | 0.44721 | LZ | 8
1C | 3 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 10; 58: 8; 59: 8 | 8 | 8 |  | 8 | 8 | 8 | 0 |  | 8
1C | 4 | 10: 8; 32: 9; 36: 8; 43: 8; 44: 8; 48: 9; 58: 8; 59: 9 | 8 | 8 |  | 8 | 9 | 8.2 | 0.44721 |  | 8
1C | 5 | 10: 10; 32: 9; 36: 9; 43: 10; 44: 9; 48: 9; 58: 8; 59: 9 | 8 | 9 |  | 9 | 10 | 9.4 | 0.54772 |  | 10
1C | 6 | 10: 10; 32: 10; 36: 9; 43: 10; 44: 9; 48: 10; 58: 8; 59: 9 | 8 | 10 |  | 9 | 10 | 9.6 | 0.54772 |  | 10
1C | 7 | 10: 9; 32: 9; 36: 10; 43: 10; 44: 10; 48: 9; 58: 10; 59: 10 | 8 | 9 |  | 9 | 10 | 9.6 | 0.54772 |  | 10
1C | 8 | 10: 9; 32: 10; 36: 10; 43: 10; 44: 10; 48: 9; 58: 10; 59: 10 | 8 | 8 |  | 9 | 10 | 9.8 | 0.44721 |  | 10
1C | 9 | 10: 10; 32: 10; 36: 10; 43: 10; 44: 10; 48: 10; 58: 10; 59: 10 | 8 | 8 |  | 10 | 10 | 10 | 0 |  | 10
1C | 10 | 10: 10; 32: 10; 36: 10; 43: 10; 44: 10; 48: 9; 58: 10; 59: 10 | 8 | 8 |  | 10 | 10 | 10 | 0 |  | 10
| Total Rust | 10: 8.954; 32: 9.233; 36: 8.93; 43: 9.088; 44: 8.93; 48: 9.331; 58: 8.772; 59: 9.292 | 8.174 | 8.655 |  | 8.93 | 9.233 | 9.027 | 0.13257 |  | 9.1
2C | 1 | 10: 10; 32: 10; 36: 10; 43: 10; 44: 10; 48: 10; 58: 10; 59: 9 | 10 |  |  | 10 | 10 | 10 | 0 | 160445 | 10 | 123-2
2C | 2 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 8; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 | SR | 8
2C | 3 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 8; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
2C | 4 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 9; 58: 8; 59: 9 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
2C | 5 | 10: 8; 32: 8; 36: 8; 43: 10; 44: 8; 48: 8; 58: 9; 59: 8 | 8 |  |  | 8 | 10 | 8.4 | 0.89443 |  | 8
2C | 6 | 10: 9; 32: 8; 36: 10; 43: 10; 44: 9; 48: 8; 58: 9; 59: 9 | 8 |  |  | 8 | 10 | 9.2 | 0.83666 |  | 8
2C | 7 | 10: 8; 32: 8; 36: 9; 43: 10; 44: 10; 48: 9; 58: 10; 59: 9 | 8 |  |  | 8 | 10 | 9 | 1 |  | 8
2C | 8 | 10: 10; 32: 10; 36: 10; 43: 10; 44: 10; 48: 10; 58: 10; 59: 10 | 8 |  |  | 10 | 10 | 10 | 0 |  | 9
2C | 9 | 10: 8; 32: 8; 36: 9; 43: 10; 44: 8; 48: 8; 58: 9; 59: 9 | 8 |  |  | 8 | 10 | 8.6 | 0.89443 |  | 8
2C | 10 | 10: 8; 32: 9; 36: 10; 43: 10; 44: 10; 48: 10; 58: 9; 59: 10 | 8 |  |  | 8 | 10 | 9.4 | 0.89443 |  | 8
| Total Rust | 10: 8.419; 32: 8.434; 36: 8.808; 43: 9.088; 44: 8.709; 48: 8.748; 58: 8.765; 59: 8.811 | 8.174 |  |  | 8.419 | 9.088 | 8.6916 | 0.27913 |  | 8.3
3 | 1 | 10: 10; 32: 10; 36: 10; 43: 10; 44: 9; 48: 9; 58: 8; 59: 10 | 10 |  |  | 9 | 10 | 9.8 | 0.44721 | 160129 | 10 | 155-2
3 | 2 | 10: 8; 32: 10; 36: 8; 43: 8; 44: 8; 48: 9; 58: 8; 59: 10 | 8 |  |  | 8 | 10 | 8.4 | 0.89443 | EG | 8
3 | 3 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 9; 58: 8; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
3 | 4 | 10: 9; 32: 10; 36: 10; 43: 9; 44: 10; 48: 10; 58: 10; 59: 9 | 10 |  |  | 9 | 10 | 9.6 | 0.54772 |  | 9
3 | 5 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 8; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
3 | 6 | 10: 8; 32: 8; 36: 10; 43: 8; 44: 9; 48: 8; 58: 8; 59: 9 | 8 |  |  | 8 | 10 | 8.6 | 0.89443 |  | 8
3 | 7 | 10: 10; 32: 9; 36: 10; 43: 10; 44: 10; 48: 10; 58: 9; 59: 9 | 10 |  |  | 9 | 10 | 9.8 | 0.44721 |  | 10
3 | 8 | 10: 10; 32: 10; 36: 10; 43: 10; 44: 10; 48: 10; 58: 9; 59: 9 | 10 |  |  | 10 | 10 | 10 | 0 |  | 10
3 | 9 | 10: 10; 32: 9; 36: 10; 43: 10; 44: 10; 48: 9; 58: 9; 59: 10 | 10 |  |  | 9 | 10 | 9.8 | 0.44721 |  | 10
3 | 10 | 10: 10; 32: 10; 36: 10; 43: 10; 44: 10; 48: 10; 58: 9; 59: 9 | 10 |  |  | 10 | 10 | 10 | 0 |  | 10
| Total Rust | 10: 8.941; 32: 9.374; 36: 9.268; 43: 8.941; 44: 9.102; 48: 9.239; 58: 8.637; 59: 9.178 | 9.11 |  |  | 8.941 | 9.374 | 9.1252 | 0.19409 |  | 8.9
4 | 1 | 10: 8; 32: 8; 36: 9; 43: 8; 44: 8; 48: 8; 58: 8; 59: 8 | 8 |  |  | 8 | 9 | 8.2 | 0.44721 | 160769 | 8 | 123-2
4 | 2 | 10: 8; 32: 10; 36: 8; 43: 8; 44: 8; 48: 9; 58: 8; 59: 9 | 9 |  |  | 8 | 10 | 8.4 | 0.89443 | EG | 8
4 | 3 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 9; 58: 8; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
4 | 4 | 10: 9; 32: 10; 36: 9; 43: 9; 44: 10; 48: 10; 58: 8; 59: 9 | 9 |  |  | 9 | 10 | 9.4 | 0.54772 |  | 8
4 | 5 | 10: 8; 32: 8; 36: 9; 43: 8; 44: 8; 48: 9; 58: 9; 59: 9 | 8 |  |  | 8 | 9 | 8.2 | 0.44721 |  | 8
4 | 6 | 10: 9; 32: 9; 36: 9; 43: 10; 44: 9; 48: 10; 58: 9; 59: 10 | 9 |  |  | 9 | 10 | 9.2 | 0.44721 |  | 9
4 | 7 | 10: 10; 32: 9; 36: 10; 43: 10; 44: 10; 48: 10; 58: 10; 59: 9 | 9 |  |  | 9 | 10 | 9.8 | 0.44721 |  | 10
4 | 8 | 10: 10; 32: 9; 36: 10; 43: 10; 44: 10; 48: 10; 58: 10; 59: 9 | 10 |  |  | 9 | 10 | 9.8 | 0.44721 |  | 10
4 | 9 | 10: 10; 32: 8; 36: 10; 43: 10; 44: 10; 48: 10; 58: 10; 59: 9 | 10 |  |  | 8 | 10 | 9.6 | 0.89443 |  | 9
4 | 10 | 10: 8; 32: 9; 36: 9; 43: 9; 44: 9; 48: 9; 58: 10; 59: 9 | 9 |  |  | 8 | 9 | 8.8 | 0.44721 |  | 9
| Total Rust | 10: 8.658; 32: 9.031; 36: 8.918; 43: 8.831; 44: 8.921; 48: 9.366; 58: 8.756; 59: 8.898 | 8.894 |  |  | 8.658 | 9.031 | 8.8718 | 0.13899 |  | 8.5
5 | 1 | 10: 9; 32: 9; 36: 10; 43: 10; 44: 10; 48: 9; 58: 10; 59: 9 | 9 |  |  | 9 | 10 | 9.6 | 0.54772 | 150063 | 10 | 123-2
5 | 2 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 5; 48: 8; 58: 8; 59: 8 | 8 |  |  | 5 | 8 | 7.4 | 1.3416 | LZ | 8
5 | 3 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 8; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
5 | 4 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 8; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
5 | 5 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 9; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
5 | 6 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 9; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
5 | 7 | 10: 10; 32: 8; 36: 9; 43: 10; 44: 10; 48: 9; 58: 10; 59: 9 | 10 |  |  | 8 | 10 | 9.4 | 0.89443 |  | 9
5 | 8 | 10: 10; 32: 9; 36: 9; 43: 10; 44: 9; 48: 10; 58: 10; 59: 9 | 9 |  |  | 9 | 10 | 9.4 | 0.54772 |  | 10
5 | 9 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 9; 59: 8 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
5 | 10 | 10: 8; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 58: 9; 59: 9 | 8 |  |  | 8 | 8 | 8 | 0 |  | 8
| Total Rust | 10: 8.355; 32: 8.17; 36: 8.308; 43: 8.442; 44: 7.78; 48: 8.304; 58: 8.765; 59: 8.315 | 8.272 |  |  | 7.78 | 8.442 | 8.211 | 0.26026 |  | 8.4

## L-37 Pinion
ASTM Gear Calibration Workshop
Lubrizol, Wickliffe,OH, July 12-14, 2022
L-37 PINION GEARS
|  | Yanchar | Rose | Sanchez, A | Radonich | Adams | Rodriguez | Kozlowski | Lopez |  | Stocks | Foecking | Hayden | Barrera |  | Lonsway | Aguirre | Trevino | Kozak | Kraemer | Potocar | Dominguez | DeCapite | Bolaney | Beard | Schwenk | Sanchez, C | Chalkey | [9 empty] | Austin | Brown | Ragsdale | Beck | [5 empty] | RCMS | RCMS | RCMS
SET # | DISTRESS | 4 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 28 | 29 | 30 | 32 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 55 | 56 | 58 | 59 | 60 |  | 61 | MIN | MAX | AVG | Std Dev | Pinion # | Mean | STD | n
1C | Ridging | 10: 8; 32: 8; 36: 9; 43: 8; 44: 8; 48: 9; 58: 9; 59: 8; 60: 8 |  |  | 8 | 9 | 8.3333 | 0.5164 | 56 | 8.5 | 0.56 | 34
1C | Rippling | 10: 9; 32: 8; 36: 9; 43: 10; 44: 8; 48: 8; 58: 8; 59: 8; 60: 8 |  |  | 8 | 10 | 8.6667 | 0.8165 |  | 9 | 0.58
1C | Wear | 10: 7; 32: 6; 36: 7; 43: 8; 44: 6; 48: 9; 58: 9; 59: 7; 60: 8 |  |  | 6 | 9 | 7.1667 | 1.169 |  | 7.3 | 0.67
1C | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 58: 9.9; 59: 9.9; 60: 9.9 |  |  | 9.9 | 9.9 | 9.9 | 0 |  | 9.89 | 0.069
2C | Ridging | 10: 8; 32: 9; 36: 9; 43: 9; 44: 9; 48: 9; 58: 9; 59: 9; 60: 8 |  |  | 8 | 9 | 8.8333 | 0.40825 | 54 | 8.7 | 0.59 | 33
2C | Rippling | 10: 8; 32: 9; 36: 9; 43: 10; 44: 9; 48: 9; 58: 9; 59: 9; 60: 9 |  |  | 8 | 10 | 9 | 0.63246 |  | 9.2 | 0.46
2C | Wear | 10: 6; 32: 8; 36: 7; 43: 7; 44: 7; 48: 7; 58: 8; 59: 7; 60: 7 |  |  | 6 | 8 | 7 | 0.63246 |  | 6.7 | 0.68
2C | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 58: 9.9; 59: 9.9; 60: 9.9 |  |  | 9.9 | 9.9 | 9.9 | 0 |  | 9.9 | 0.17
3C | Ridging | 10: 6; 32: 6; 36: 4; 43: 5; 44: 5; 48: 6; 58: 6; 59: 5; 60: 6 |  |  | 4 | 6 | 5.3333 | 0.8165 | 15 | 5.6 | 0.7 | 40
3C | Rippling | 10: 9; 32: 8; 36: 9; 43: 9; 44: 8; 48: 9; 58: 8; 59: 8; 60: 9 |  |  | 8 | 9 | 8.6667 | 0.5164 |  | 8.6 | 0.68
3C | Wear | 10: 6; 32: 6; 36: 5; 43: 6; 44: 6; 48: 5; 58: 5; 59: 6; 60: 6 |  |  | 5 | 6 | 5.6667 | 0.5164 |  | 5.6 | 0.5
3C | Spitting | 10: 8; 32: 7; 36: 7; 43: 7; 44: 8; 48: 7; 58: 8; 59: 7; 60: 7 |  |  | 7 | 8 | 7.3333 | 0.5164 |  | 7.63 | 0.49
4C | Ridging | 10: 7; 32: 7; 36: 8; 43: 7; 44: 7; 48: 8; 58: 7; 59: 8; 60: 7 |  |  | 7 | 8 | 7.3333 | 0.5164 | 38 | 7.2 | 0.62 | 35
4C | Rippling | 10: 9; 32: 9; 36: 9; 43: 10; 44: 9; 48: 8; 58: 9; 59: 9; 60: 9 |  |  | 8 | 10 | 9 | 0.63246 |  | 9.1 | 0.42
4C | Wear | 10: 6; 32: 7; 36: 7; 43: 6; 44: 6; 48: 8; 58: 7; 59: 7; 60: 6 |  |  | 6 | 8 | 6.6667 | 0.8165 |  | 6.4 | 0.5
4C | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 58: 9.9; 59: 9.9; 60: 9.9 |  |  | 9.9 | 9.9 | 9.9 | 0 |  | 9.91 | 0.024
5 | Ridging | 10: 9; 32: 9; 36: 8; 43: 9; 44: 8; 48: 9; 58: 8; 59: 9; 60: 8 | 8 |  | 8 | 9 | 8.6667 | 0.5164 | 11 | 8.6 | 0.49 | 37
5 | Rippling | 10: 6; 32: 7; 36: 7; 43: 6; 44: 6; 48: 8; 58: 7; 59: 7; 60: 7 | 9 |  | 6 | 8 | 6.6667 | 0.8165 |  | 6.5 | 0.61
5 | Wear | 10: 6; 32: 6; 36: 7; 43: 6; 44: 7; 48: 6; 58: 7; 59: 6; 60: 7 | 9 |  | 6 | 7 | 6.3333 | 0.5164 |  | 6.2 | 0.44
5 | Spitting | 10: 9.6; 32: 9.6; 36: 9; 43: 9.7; 44: 9.4; 48: 9; 58: 9.5; 59: 9.6; 60: 9.9 | 9.9 |  | 9 | 9.7 | 9.3833 | 0.31252 |  | 9.59 | 0.172
6 | Ridging | 10: 8; 32: 7; 36: 9; 43: 8; 44: 9; 48: 9; 58: 8; 59: 9; 60: 7 | 8 |  | 7 | 9 | 8.3333 | 0.8165 | 8 | 7.7 | 0.63 | 33
6 | Rippling | 10: 8; 32: 6; 36: 8; 43: 8; 44: 8; 48: 9; 58: 7; 59: 9; 60: 8 | 8 |  | 6 | 9 | 7.8333 | 0.98319 |  | 7.8 | 0.71
6 | Wear | 10: 6; 32: 6; 36: 7; 43: 6; 44: 7; 48: 8; 58: 7; 59: 8; 60: 7 | 9 |  | 6 | 8 | 6.6667 | 0.8165 |  | 6.9 | 0.35
6 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 58: 9.7; 59: 9.9; 60: 9.9 | 9.8 |  | 9.9 | 9.9 | 9.9 | 0 |  | 9.9 | 0.017
7 | Ridging | 10: 6; 32: 5; 36: 4; 43: 4; 44: 4; 48: 7; 58: 4; 59: 7; 60: 6 | 5 |  | 4 | 7 | 5 | 1.2649 | 47 | 5.1 | 0.73 | 35
7 | Rippling | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 48: 9; 58: 9; 59: 9; 60: 9 | 6 |  | 8 | 9 | 8.8333 | 0.40825 |  | 8.8 | 0.51
7 | Wear | 10: 6; 32: 6; 36: 6; 43: 6; 44: 6; 48: 7; 58: 8; 59: 6; 60: 7 | 6 |  | 6 | 7 | 6.1667 | 0.40825 |  | 6.1 | 0.32
7 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 58: 9.8; 59: 9.9; 60: 9.9 | 9.7 |  | 9.9 | 9.9 | 9.9 | 0 |  | 9.89 | 0.036
8 | Ridging | 10: 9; 32: 9; 36: 9; 43: 9; 44: 9; 48: 9; 58: 9; 59: 8; 60: 8 | 8 |  | 9 | 9 | 9 | 0 | 22 | 9.1 | 0.42 | 34
8 | Rippling | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 48: 9; 58: 8; 59: 9; 60: 9 | 9 |  | 8 | 9 | 8.8333 | 0.40825 |  | 9.2 | 0.59
8 | Wear | 10: 6; 32: 6; 36: 7; 43: 6; 44: 7; 48: 6; 58: 7; 59: 7; 60: 6 | 9 |  | 6 | 7 | 6.3333 | 0.5164 |  | 6.4 | 0.5
8 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.8; 48: 9.9; 58: 9.9; 59: 9.9; 60: 9.9 | 9.8 |  | 9.8 | 9.9 | 9.8833 | 0.040825 |  | 9.88 | 0.039
9 | Ridging | 10: 8; 32: 6; 36: 9; 43: 8; 44: 7; 48: 9; 58: 7; 59: 8; 60: 8 | 7 |  | 6 | 9 | 7.8333 | 1.169 | 35 | 7.6 | 0.73 | 36
9 | Rippling | 10: 4; 32: 5; 36: 4; 43: 4; 44: 4; 48: 6; 58: 6; 59: 6; 60: 6 | 6 |  | 4 | 6 | 4.5 | 0.83666 |  | 4.8 | 0.69
9 | Wear | 10: 6; 32: 7; 36: 7; 43: 7; 44: 7; 48: 7; 58: 9; 59: 6; 60: 7 | 8 |  | 6 | 7 | 6.8333 | 0.40825 |  | 6.6 | 0.55
9 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 58: 9.9; 59: 9.9; 60: 9.9 | 9.7 |  | 9.9 | 9.9 | 9.9 | 0 |  | 9.9 | 0.017
10 | Ridging | 10: 9; 32: 9; 36: 9; 43: 9; 44: 9; 48: 9; 58: 9; 59: 9; 60: 9 | 7 |  | 9 | 9 | 9 | 0 | 48 | 9.3 | 0.52 | 35
10 | Rippling | 10: 9; 32: 9; 36: 9; 43: 9; 44: 9; 48: 9; 58: 9; 59: 9; 60: 9 | 8 |  | 9 | 9 | 9 | 0 |  | 9.1 | 0.45
10 | Wear | 10: 6; 32: 6; 36: 7; 43: 8; 44: 7; 48: 8; 58: 9; 59: 6; 60: 6 | 7 |  | 6 | 8 | 7 | 0.89443 |  | 6.5 | 0.61
10 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.8; 48: 9.9; 58: 9.5; 59: 9.9; 60: 9.9 | 9.8 |  | 9.8 | 9.9 | 9.8833 | 0.040825 |  | 9.89 | 0.024
11 | Ridging | 10: 9; 32: 9; 36: 9; 43: 10; 44: 10; 48: 9; 58: 9; 59: 9; 60: 9 | 7 |  | 9 | 10 | 9.3333 | 0.5164 | 26 | 9.6 | 0.5 | 38
11 | Rippling | 10: 10; 32: 9; 36: 9; 43: 9; 44: 10; 48: 9; 58: 9; 59: 9; 60: 8 | 8 |  | 9 | 10 | 9.3333 | 0.5164 |  | 9.4 | 0.54
11 | Wear | 10: 7; 32: 9; 36: 8; 43: 9; 44: 7; 48: 9; 58: 8; 59: 7; 60: 8 | 9 |  | 7 | 9 | 8.1667 | 0.98319 |  | 8.3 | 0.5
11 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 58: 9.7; 59: 9.9; 60: 9.9 | 9.9 |  | 9.9 | 9.9 | 9.9 | 0 |  | 9.92 | 0.039
12 | Ridging | 10: 5; 32: 5; 36: 5; 43: 5; 44: 4; 48: 7; 58: 4; 59: 5; 60: 6 | 6 |  | 4 | 7 | 5.1667 | 0.98319 | 18 | 4.9 | 0.64 | 34
12 | Rippling | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 48: 9; 58: 9; 59: 9; 60: 9 | 8 |  | 8 | 9 | 8.8333 | 0.40825 |  | 9.1 | 0.65
12 | Wear | 10: 6; 32: 6; 36: 6; 43: 6; 44: 6; 48: 6; 58: 7; 59: 6; 60: 7 | 7 |  | 6 | 6 | 6 | 0 |  | 5.6 | 0.49
12 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.8; 44: 9.9; 48: 9.9; 58: 9.8; 59: 9.9; 60: 9.9 | 9.8 |  | 9.8 | 9.9 | 9.8833 | 0.040825 |  | 9.87 | 0.046

## L-37 Ring
ASTM Gear Calibration Workshop
Lubrizol, Wickliffe, OH, July 12-14, 2022
L-37 RING GEARS
|  | Yanchar | Rose | Sanchez, A | Radonich | Adams | Rodriguez | Kozlowski | Lopez |  | Stocks | Foecking | Hayden | Barrera |  | Lonsway | Aguirre | Trevino | Kozak | Kraemer | Potocar | Dominguez | DeCapite | Bolaney | Beard | Schwenk | Sanchez, C | [8 empty] | Chalkey |  |  |  | Austin | Brown | Ragsdale | [5 empty] | January 2022' |  |  |  | July 2021' |  |  |  | January 2020' |  |  |  | July 2019' |  |  |  | January 2019' |  |  |  | July 2018' |  |  |  | January 2018' |  |  |  | January 2017' |  |  |  | July 2016' |  |  |  | January 2016' |  |  |  | July 2015' |  |  |  | January 2015' |  |  |  | July 2014' |  |  |  | January 2014' |  |  |  | July 2013' |  |  |  | January 2013'
SET # | DISTRESS | 4 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 28 | 29 | 30 | 32 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 48 | 56 | 58 | 59 | 60 |  |  | 61 | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev | MIN | MAX | AVG | Std Dev
1C | Ridging | 10: 10; 32: 9; 36: 10; 43: 10; 44: 10; 48: 9; 60: 10 | 9 | 9 |  | 9 | 10 | 9.8 | 0.44721 | 9 | 10 | 9.22 | 0.441 | 9 | 10 | 9.2 | 0.42164 | 9 | 10 | 9.5 | 0.52705 | 10 | 10 | 10 | 0 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.6 | 0.54772 | 7 | 10 | 9.5 | 1.069 | [20 empty] | 9 | 10
1C | Rippling | 10: 10; 32: 8; 36: 10; 43: 10; 44: 9; 48: 8; 60: 9 | 8 | 8 |  | 8 | 10 | 9.4 | 0.89443 | 9 | 10 | 9.22 | 0.441 | 7 | 10 | 9.2 | 0.91894 | 8 | 10 | 9.2 | 0.63246 | 10 | 10 | 10 | 0 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2 | 0.44721 | 8 | 10 | 9.375 | 0.74402 | [20 empty] | 9 | 10
1C | Wear | 10: 7; 32: 8; 36: 8; 43: 9; 44: 9; 48: 8; 60: 9 | 8 | 6 |  | 7 | 9 | 8.2 | 0.83666 | 7 | 9 | 8.11 | 0.928 | 7 | 9 | 7.8 | 0.78881 | 7 | 9 | 7.8 | 0.63246 | 7 | 9 | 8.3333 | 1.1547 | 7 | 9 | 8.4 | 0.89443 | 7 | 9 | 8.4 | 0.89443 | 7 | 9 | 7.75 | 0.70711 | [20 empty] | 7 | 9
1C | Spitting | 10: 10; 32: 9.9; 36: 10; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.8 |  | 9.9 | 10 | 9.94 | 0.054772 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | [20 empty] | 9.9 | 9.9
2C | Ridging | 10: 9; 32: 9; 36: 10; 43: 10; 44: 10; 48: 9; 60: 10 | 9 | 9 |  | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.11 | 0.333 | 8 | 10 | 9.2 | 0.63246 | 8 | 10 | 9.2 | 0.63246 | 7 | 7 | 7 | 0 | 7 | 8 | 7.2 | 0.44721 | 7 | 8 | 7.2 | 0.44721 | 7 | 10 | 7.75 | 1.0351 | [20 empty] | 7 | 8
2C | Rippling | 10: 9; 32: 8; 36: 10; 43: 10; 44: 9; 48: 7; 60: 9 | 7 | 6 |  | 8 | 10 | 9.2 | 0.83666 | 7 | 10 | 8.56 | 1.014 | 7 | 10 | 8.8 | 0.78881 | 8 | 10 | 9.1 | 0.73786 | 10 | 10 | 10 | 0 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.6 | 0.54772 | 8 | 10 | 9.125 | 0.64087 | [20 empty] | 9 | 10
2C | Wear | 10: 7; 32: 7; 36: 8; 43: 9; 44: 8; 48: 7; 60: 9 | 9 | 6 |  | 7 | 9 | 7.8 | 0.83666 | 7 | 9 | 8 | 1 | 7 | 9 | 7.9 | 0.73786 | 7 | 9 | 7.8 | 0.91894 | 6 | 7 | 6.6667 | 0.57735 | 6 | 8 | 6.6 | 0.89443 | 6 | 8 | 6.6 | 0.89443 | 6 | 8 | 6.875 | 0.64087 | [20 empty] | 6 | 7
2C | Spitting | 10: 9.9; 32: 9.9; 36: 10; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.9 | 10 | 9.92 | 0.044721 | 9.9 | 9.9 | 9.9 | 0 | 9.8 | 9.9 | 9.89 | 0.031623 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.8 | 9.9 | 9.8667 | 0.057735 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | [20 empty] | 9.8 | 9.9
3C | Ridging | 10: 7; 32: 6; 36: 9; 43: 8; 44: 7; 48: 7; 60: 8 | 8 | 6 |  | 6 | 9 | 7.4 | 1.1402 | 6 | 8 | 7.22 | 0.667 | 6 | 8 | 7.3 | 0.67495 | 6 | 8 | 7.2 | 0.78881 | 9 | 10 | 9.6667 | 0.57735 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.625 | 0.51755 | [20 empty] | 10 | 10
3C | Rippling | 10: 9; 32: 8; 36: 9; 43: 10; 44: 8; 48: 9; 60: 9 | 9 | 9 |  | 8 | 10 | 8.8 | 0.83666 | 9 | 10 | 9.22 | 0.441 | 8 | 10 | 9 | 0.4714 | 8 | 9 | 8.9 | 0.31623 | 9 | 10 | 9.6667 | 0.57735 | 8 | 10 | 9 | 0.70711 | 8 | 10 | 9 | 0.70711 | 7 | 10 | 9 | 0.92582 | [20 empty] | 9 | 10
3C | Wear | 10: 6; 32: 6; 36: 7; 43: 8; 44: 6; 48: 7; 60: 7 | 8 | 6 |  | 6 | 8 | 6.6 | 0.89443 | 6 | 8 | 6.67 | 0.707 | 6 | 8 | 6.8 | 0.63246 | 6 | 7 | 6.5 | 0.52705 | 7 | 9 | 8 | 1 | 8 | 9 | 8.4 | 0.54772 | 8 | 9 | 8.4 | 0.54772 | 7 | 9 | 7.875 | 0.64087 | [20 empty] | 7 | 9
3C | Spitting | 10: 9.9; 32: 9.8; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.8 | 9.9 | 9.88 | 0.044721 | 9.8 | 9.9 | 9.88 | 0.044 | 9.8 | 9.9 | 9.89 | 0.031623 | 9.8 | 9.9 | 9.89 | 0.031623 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | [20 empty] | 9.9 | 9.9
4C | Ridging | 10: 5; 32: 5; 36: 5; 43: 4; 44: 5; 48: 4; 60: 4 | 5 | 4 |  | 4 | 5 | 4.8 | 0.44721 | 4 | 6 | 5.11 | 0.601 | 4 | 6 | 4.7 | 0.82327 | 4 | 6 | 4.8 | 0.78881 | 4 | 5 | 4.3333 | 0.57735 | 4 | 5 | 4.6 | 0.54772 | 4 | 5 | 4.6 | 0.54772 | 4 | 6 | 4.5 | 0.75593 | [20 empty] | 4 | 5
4C | Rippling | 10: 9; 32: 9; 36: 9; 43: 10; 44: 9; 48: 9; 60: 8 | 9 | 9 |  | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.22 | 0.441 | 9 | 10 | 9.1 | 0.31623 | 8 | 10 | 9.1 | 0.56765 | 9 | 10 | 9.3333 | 0.57735 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.375 | 0.51755 | [20 empty] | 9 | 10
4C | Wear | 10: 5; 32: 6; 36: 4; 43: 6; 44: 5; 48: 5; 60: 5 | 6 | 5 |  | 4 | 6 | 5.2 | 0.83666 | 4 | 6 | 5.22 | 0.833 | 4 | 6 | 5.2 | 0.63246 | 5 | 6 | 5.5 | 0.52705 | 6 | 6 | 6 | 0 | 5 | 6 | 5.4 | 0.54772 | 5 | 6 | 5.4 | 0.54772 | 5 | 6 | 5.5 | 0.53452 | [20 empty] | 5 | 6
4C | Spitting | 10: 9.9; 32: 9.7; 36: 9.5; 43: 9.8; 44: 9.7; 48: 9.7; 60: 9.9 | 9.7 | 9.8 |  | 9.5 | 9.9 | 9.72 | 0.14832 | 9.7 | 9.9 | 9.77 | 0.071 | 9.5 | 9.9 | 9.76 | 0.12649 | 9.4 | 9.9 | 9.79 | 0.15239 | 9.7 | 9.8 | 9.7667 | 0.057735 | 9.5 | 9.9 | 9.72 | 0.20494 | 9.5 | 9.9 | 9.72 | 0.20494 | 9.8 | 9.9 | 9.8375 | 0.051755 | [20 empty] | 9.7 | 9.9
5 | Ridging | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 48: 9; 60: 9 | 9 | 8 |  | 8 | 9 | 8.8 | 0.44721 | 9 | 10 | 9.1 | 0.316 | 9 | 10 | 9.1 | 0.31623 | 9 | 10 | 9.5 | 0.52705 | 9 | 10 | 9.6667 | 0.57735 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.625 | 0.51755 | 9 | 10 | 9.625 | 0.51755 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.4286 | 0.53452 | 9 | 9 | 9 | 0 | 9 | 10 | 9.875 | 0.35355 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.625 | 0.51755 | 9 | 10 | 9.8333 | 0.40825 | 8 | 10 | 9.6667 | 0.70711
5 | Rippling | 10: 9; 32: 9; 36: 9; 43: 8; 44: 9; 48: 8; 60: 9 | 9 | 9 |  | 8 | 9 | 8.8 | 0.44721 | 7 | 10 | 8.7 | 0.949 | 8 | 10 | 8.9 | 0.56765 | 8 | 10 | 9 | 0.66667 | 9 | 10 | 9.6667 | 0.57735 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.375 | 0.51755 | 9 | 10 | 9.25 | 0.46291 | 7 | 10 | 8.8 | 1.0954 | 8 | 10 | 9.2857 | 0.75593 | 9 | 9 | 9 | 0 | 9 | 10 | 9.5 | 0.53452 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.125 | 0.35355 | 9 | 10 | 9.5 | 0.54772 | 8 | 10 | 9 | 0.70711
5 | Wear | 10: 7; 32: 8; 36: 7; 43: 8; 44: 8; 48: 7; 60: 8 | 8 | 7 |  | 7 | 8 | 7.6 | 0.54772 | 7 | 9 | 7.7 | 0.675 | 7 | 9 | 7.8 | 0.63246 | 7 | 9 | 7.8 | 0.63246 | 7 | 9 | 8 | 1 | 7 | 9 | 8.4 | 0.89443 | 7 | 9 | 8.4 | 0.89443 | 7 | 8 | 7.875 | 0.35355 | 7 | 9 | 7.875 | 0.64087 | 7 | 9 | 7.8 | 0.83666 | 7 | 9 | 8 | 0.8165 | 7 | 8 | 7.75 | 0.5 | 7 | 9 | 8 | 0.53452 | 7 | 9 | 7.8 | 0.83666 | 7 | 9 | 8.375 | 0.91613 | 8 | 9 | 8.5 | 0.54772 | 7 | 9 | 7.8889 | 0.60093
5 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9143 | 0.037796 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9111 | 0.033333
6 | Ridging | 10: 9; 32: 8; 36: 8; 43: 9; 44: 9; 48: 9; 60: 9 | 9 | 8 |  | 8 | 9 | 8.6 | 0.54772 | 9 | 9 | 9 | 0 | 9 | 10 | 9.1 | 0.31623 | 8 | 10 | 8.9 | 0.56765 | 9 | 10 | 9.3333 | 0.57735 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.25 | 0.46291 | 9 | 10 | 9.375 | 0.51755 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.1429 | 0.37796 | 9 | 9 | 9 | 0 | 9 | 10 | 9.5 | 0.53452 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.125 | 0.35355 | 9 | 10 | 9.5 | 0.54772 | 8 | 10 | 9.2222 | 0.66667
6 | Rippling | 10: 10; 32: 9; 36: 9; 43: 9; 44: 9; 48: 9; 60: 9 | 9 | 9 |  | 9 | 10 | 9.2 | 0.44721 | 8 | 10 | 9.1 | 0.568 | 9 | 10 | 9.2 | 0.42164 | 9 | 10 | 9.5 | 0.52705 | 10 | 10 | 10 | 0 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.75 | 0.46291 | 9 | 10 | 9.625 | 0.51755 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.5714 | 0.53452 | 9 | 9 | 9 | 0 | 9 | 10 | 9.875 | 0.35355 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.5 | 0.53452 | 9 | 10 | 9.8333 | 0.40825 | 8 | 10 | 9.3333 | 0.70711
6 | Wear | 10: 9; 32: 8; 36: 8; 43: 8; 44: 8; 48: 8; 60: 9 | 9 | 7 |  | 8 | 9 | 8.2 | 0.44721 | 7 | 9 | 7.9 | 0.876 | 7 | 9 | 8 | 0.66667 | 8 | 10 | 8.5 | 0.70711 | 8 | 8 | 8 | 0 | 7 | 9 | 8.6 | 0.89443 | 7 | 9 | 8.6 | 0.89443 | 7 | 8 | 7.875 | 0.35355 | 7 | 9 | 7.75 | 0.88641 | 7 | 9 | 8.4 | 0.89443 | 7 | 9 | 8.1429 | 0.69007 | 8 | 9 | 8.75 | 0.5 | 8 | 9 | 8.375 | 0.51755 | 7 | 9 | 8 | 0.70711 | 7 | 9 | 8.375 | 0.91613 | 7 | 9 | 8.5 | 0.83666 | 7 | 9 | 8 | 0.5
6 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 10 | 9.91 | 0.031623 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9143 | 0.037796 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9111 | 0.033333
7 | Ridging | 10: 9; 32: 9; 36: 9; 43: 10; 44: 9; 48: 9; 60: 9 | 9 | 9 |  | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2 | 0.422 | 9 | 10 | 9.3 | 0.48305 | 9 | 10 | 9.4 | 0.5164 | 10 | 10 | 10 | 0 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.75 | 0.46291 | 9 | 10 | 9.625 | 0.51755 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.8571 | 0.37796 | 9 | 10 | 9.5 | 0.57735 | 9 | 10 | 9.75 | 0.46291 | 9 | 10 | 9.8 | 0.44721 | 9 | 10 | 9.625 | 0.51755 | 10 | 10 | 10 | 0 | 8 | 10 | 9.7778 | 0.66667
7 | Rippling | 10: 9; 32: 9; 36: 9; 43: 9; 44: 9; 48: 8; 60: 8 | 8 | 9 |  | 9 | 9 | 9 | 0 | 8 | 10 | 8.9 | 0.738 | 8 | 9 | 8.8 | 0.42164 | 8 | 10 | 8.9 | 0.73786 | 9 | 10 | 9.6667 | 0.57735 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.4 | 0.54772 | 8 | 10 | 9.375 | 0.74402 | 9 | 10 | 9.5 | 0.53452 | 8 | 9 | 8.8 | 0.44721 | 8 | 10 | 9.1429 | 0.69007 | 9 | 10 | 9.25 | 0.5 | 9 | 10 | 9.5 | 0.53452 | 9 | 10 | 9.8 | 0.44721 | 8 | 10 | 9 | 0.75593 | 9 | 10 | 9.6667 | 0.5164 | 8 | 10 | 9.1111 | 0.92796
7 | Wear | 10: 7; 32: 8; 36: 8; 43: 9; 44: 8; 48: 8; 60: 8 | 8 | 7 |  | 7 | 9 | 8 | 0.70711 | 7 | 8 | 7.4 | 0.516 | 7 | 9 | 7.7 | 0.67495 | 7 | 9 | 7.5 | 0.70711 | 7 | 9 | 7.6667 | 1.1547 | 7 | 9 | 8 | 0.70711 | 7 | 9 | 8 | 0.70711 | 7 | 8 | 7.125 | 0.35355 | 7 | 8 | 7.25 | 0.46291 | 7 | 9 | 7.8 | 0.83666 | 7 | 8 | 7.1429 | 0.37796 | 7 | 8 | 7.5 | 0.57735 | 7 | 8 | 7.375 | 0.51755 | 7 | 8 | 7.6 | 0.54772 | 7 | 9 | 7.625 | 0.91613 | 7 | 8 | 7.5 | 0.54772 | 7 | 8 | 7.6667 | 0.5
7 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.92 | 0.044721 | 9.9 | 10 | 9.92 | 0.044721 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9143 | 0.037796 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9111 | 0.033333
8 | Ridging | 10: 5; 32: 4; 36: 4; 43: 5; 44: 4; 48: 6; 60: 4 | 5 | 6 |  | 4 | 5 | 4.4 | 0.54772 | 4 | 6 | 4.9 | 0.568 | 4 | 6 | 5 | 0.66667 | 4 | 6 | 5 | 0.66667 | 4 | 5 | 4.3333 | 0.57735 | 4 | 6 | 5 | 0.70711 | 4 | 6 | 5 | 0.70711 | 4 | 5 | 4.75 | 0.46291 | 4 | 5 | 4.875 | 0.35355 | 4 | 5 | 4.6 | 0.54772 | 4 | 7 | 5 | 1.1547 | 5 | 6 | 5.5 | 0.57735 | 4 | 6 | 4.5 | 0.75593 | 4 | 6 | 4.4 | 0.89443 | 5 | 6 | 5.125 | 0.35355 | 4 | 6 | 5 | 0.63246 | 4 | 7 | 5.2222 | 0.83333
8 | Rippling | 10: 9; 32: 10; 36: 9; 43: 9; 44: 8; 48: 9; 60: 9 | 9 | 8 |  | 8 | 10 | 9 | 0.70711 | 7 | 10 | 8.7 | 0.823 | 7 | 9 | 8.7 | 0.67495 | 5 | 10 | 8.6 | 1.3499 | 8 | 9 | 8.6667 | 0.57735 | 9 | 9 | 9 | 0 | 9 | 9 | 9 | 0 | 7 | 10 | 8.375 | 1.0607 | 6 | 10 | 8.5 | 1.3093 | 8 | 10 | 9 | 0.70711 | 8 | 10 | 8.8571 | 0.69007 | 8 | 9 | 8.5 | 0.57735 | 8 | 10 | 9.25 | 0.88641 | 9 | 10 | 9.2 | 0.44721 | 8 | 9 | 8.5 | 0.53452 | 8 | 10 | 9 | 0.63246 | 7 | 10 | 8.6667 | 1
8 | Wear | 10: 5; 32: 4; 36: 5; 43: 6; 44: 5; 48: 6; 60: 4 | 6 | 5 |  | 4 | 6 | 5 | 0.70711 | 4 | 6 | 5.5 | 0.707 | 5 | 6 | 5.6 | 0.5164 | 4 | 6 | 5.5 | 0.84984 | 4 | 6 | 5.3333 | 1.1547 | 5 | 6 | 5.8 | 0.44721 | 5 | 6 | 5.8 | 0.44721 | 5 | 6 | 5.625 | 0.51755 | 5 | 6 | 5.75 | 0.46291 | 5 | 6 | 5.8 | 0.44721 | 5 | 7 | 6 | 0.57735 | 5 | 7 | 6 | 0.8165 | 4 | 6 | 5.625 | 0.74402 | 5 | 6 | 5.8 | 0.44721 | 6 | 6 | 6 | 0 | 5 | 6 | 5.6667 | 0.5164 | 5 | 7 | 6.3333 | 0.70711
8 | Spitting | 10: 9.5; 32: 9.7; 36: 9.3; 43: 9.8; 44: 9.7; 48: 9.9; 60: 9.9 | 9.6 | 9.8 |  | 9.3 | 9.8 | 9.6 | 0.2 | 9.7 | 9.9 | 9.83 | 0.067 | 9.5 | 9.9 | 9.81 | 0.13703 | 9.7 | 9.9 | 9.84 | 0.069921 | 9.6 | 9.9 | 9.8 | 0.17321 | 9.5 | 9.9 | 9.8 | 0.17321 | 9.5 | 9.9 | 9.8 | 0.17321 | 9.8 | 9.9 | 9.85 | 0.053452 | 9.8 | 9.9 | 9.85 | 0.053452 | 9.6 | 9.9 | 9.76 | 0.11402 | 9.8 | 9.9 | 9.8429 | 0.053452 | 9.5 | 9.9 | 9.7 | 0.18257 | 9.7 | 9.9 | 9.8125 | 0.099103 | 9.7 | 9.9 | 9.84 | 0.089443 | 8 | 9.9 | 9.5625 | 0.63906 | 9.5 | 9.9 | 9.8 | 0.15492 | 9.5 | 9.9 | 9.8111 | 0.12693
9 | Ridging | 10: 8; 32: 7; 36: 8; 43: 7; 44: 7; 48: 8; 60: 6 | 7 | 7 |  | 7 | 8 | 7.4 | 0.54772 | 6 | 8 | 7.2 | 0.632 | 6 | 8 | 7.4 | 0.69921 | 6 | 8 | 7.3 | 0.67495 | 7 | 9 | 8 | 1 | 7 | 9 | 7.8 | 0.83666 | 7 | 9 | 7.8 | 0.83666 | 7 | 8 | 7.25 | 0.46291 | 7 | 9 | 7.625 | 0.74402 | 7 | 8 | 7.6 | 0.54772 | 7 | 8 | 7.7143 | 0.48795 | 7 | 8 | 7.5 | 0.57735 | 7 | 9 | 7.875 | 0.64087 | 6 | 8 | 7 | 0.70711 | 7 | 8 | 7.875 | 0.35355 | 7 | 8 | 7.5 | 0.54772 | 7 | 8 | 7.5556 | 0.52705
9 | Rippling | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 48: 9; 60: 9 | 9 | 8 |  | 8 | 9 | 8.8 | 0.44721 | 9 | 10 | 9.2 | 0.422 | 9 | 10 | 9.1 | 0.31623 | 8 | 10 | 9 | 0.4714 | 9 | 9 | 9 | 0 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.375 | 0.51755 | 8 | 10 | 9 | 0.75593 | 9 | 10 | 9.4 | 0.54772 | 9 | 10 | 9.2857 | 0.48795 | 9 | 9 | 9 | 0 | 9 | 10 | 9.75 | 0.46291 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.25 | 0.46291 | 9 | 10 | 9.1667 | 0.40825 | 8 | 10 | 9.2222 | 0.66667
9 | Wear | 10: 7; 32: 7; 36: 7; 43: 7; 44: 7; 48: 8; 60: 8 | 7 | 5 |  | 7 | 7 | 7 | 0 | 6 | 8 | 6.9 | 0.568 | 6 | 8 | 7.1 | 0.56765 | 6 | 7 | 6.8 | 0.42164 | 7 | 7 | 7 | 0 | 6 | 7 | 6.8 | 0.44721 | 6 | 7 | 6.8 | 0.44721 | 7 | 7 | 7 | 0 | 7 | 8 | 7.125 | 0.35355 | 7 | 7 | 7 | 0 | 7 | 7 | 7 | 0 | 7 | 7 | 7 | 0 | 7 | 8 | 7.125 | 0.35355 | 7 | 7 | 7 | 0 | 6 | 9 | 7.25 | 0.88641 | 6 | 7 | 6.8333 | 0.40825 | 7 | 8 | 7.2222 | 0.44096
9 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 10 | 9.91 | 0.031623 | 9.9 | 10 | 9.9333 | 0.057735 | 9.9 | 10 | 9.92 | 0.044721 | 9.9 | 10 | 9.92 | 0.044721 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9143 | 0.037796 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 10 | 9.9167 | 0.040825 | 9.9 | 9.9 | 9.9 | 0
10 | Ridging | 10: 5; 32: 4; 36: 3; 43: 5; 44: 5; 48: 6; 60: 5 | 5 | 6 |  | 3 | 5 | 4.4 | 0.89443 | 3 | 6 | 4.8 | 1.229 | 4 | 6 | 5.1 | 0.73786 | 4 | 6 | 4.7 | 0.82327 | 5 | 6 | 5.3333 | 0.57735 | 4 | 5 | 4.4 | 0.54772 | 4 | 5 | 4.4 | 0.54772 | 4 | 6 | 4.625 | 0.74402 | 4 | 6 | 4.75 | 0.70711 | 4 | 5 | 4.6 | 0.54772 | 4 | 7 | 4.8571 | 1.069 | 4 | 7 | 5.5 | 1.291 | 4 | 6 | 4.625 | 0.74402 | 4 | 5 | 4.4 | 0.54772 | 5 | 7 | 5.375 | 0.74402 | 3 | 6 | 4.8333 | 0.98319 | 4 | 7 | 5 | 1
10 | Rippling | 10: 9; 32: 10; 36: 9; 43: 8; 44: 7; 48: 9; 60: 9 | 9 | 8 |  | 7 | 10 | 8.6 | 1.1402 | 7 | 9 | 8.3 | 0.823 | 7 | 9 | 8.5 | 0.70711 | 6 | 9 | 8.3 | 0.94868 | 8 | 9 | 8.6667 | 0.57735 | 8 | 9 | 8.8 | 0.44721 | 8 | 9 | 8.8 | 0.44721 | 6 | 9 | 7.875 | 0.99103 | 7 | 9 | 8.625 | 0.74402 | 7 | 10 | 8.8 | 1.0954 | 7 | 9 | 8.4286 | 0.7868 | 8 | 9 | 8.5 | 0.57735 | 8 | 10 | 9 | 0.53452 | 8 | 9 | 8.8 | 0.44721 | 7 | 9 | 8.375 | 0.74402 | 6 | 9 | 8.3333 | 1.2111 | 6 | 10 | 8.1111 | 1.3642
10 | Wear | 10: 4; 32: 4; 36: 5; 43: 6; 44: 5; 48: 6; 60: 4 | 6 | 5 |  | 4 | 6 | 4.8 | 0.83666 | 3 | 6 | 5.4 | 0.966 | 4 | 6 | 5.5 | 0.70711 | 4 | 6 | 5.7 | 0.67495 | 5 | 6 | 5.6667 | 0.57735 | 5 | 6 | 5.8 | 0.44721 | 5 | 6 | 5.8 | 0.44721 | 4 | 6 | 5.5 | 0.92582 | 4 | 7 | 5.75 | 0.88641 | 5 | 6 | 5.8 | 0.44721 | 5 | 7 | 6 | 0.57735 | 4 | 7 | 5.75 | 1.2583 | 5 | 6 | 5.75 | 0.46291 | 5 | 7 | 6 | 0.70711 | 5 | 7 | 6 | 0.53452 | 5 | 6 | 5.5 | 0.54772 | 5 | 7 | 6 | 0.70711
10 | Spitting | 10: 9.8; 32: 9.9; 36: 9.7; 43: 9.9; 44: 9.8; 48: 9.9; 60: 9.9 | 9.8 | 9.8 |  | 9.7 | 9.9 | 9.82 | 0.083666 | 9.8 | 9.9 | 9.86 | 0.052 | 9.8 | 9.9 | 9.87 | 0.048305 | 9.7 | 9.9 | 9.84 | 0.069921 | 9.8 | 9.9 | 9.8667 | 0.057735 | 9.8 | 9.9 | 9.86 | 0.054772 | 9.8 | 9.9 | 9.86 | 0.054772 | 9.8 | 9.9 | 9.8375 | 0.051755 | 9.9 | 9.9 | 9.9 | 0 | 9.6 | 9.9 | 9.8 | 0.14142 | 9.7 | 9.9 | 9.8429 | 0.07868 | 9.8 | 9.9 | 9.875 | 0.05 | 9.5 | 9.9 | 9.8125 | 0.13562 | 9.8 | 9.9 | 9.86 | 0.054772 | 8 | 9.9 | 9.6375 | 0.66319 | 9.8 | 9.9 | 9.8667 | 0.05164 | 9.8 | 9.9 | 9.8444 | 0.052705
11 | Ridging | 10: 9; 32: 9; 36: 9; 43: 10; 44: 9; 48: 9; 60: 9 | 9 | 9 |  | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2 | 0.422 | 9 | 10 | 9.2 | 0.42164 | 9 | 10 | 9.2 | 0.42164 | 9 | 10 | 9.6667 | 0.57735 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.6 | 0.54772 | 9 | 10 | 9.625 | 0.51755 | 9 | 10 | 9.625 | 0.51755 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2857 | 0.48795 | 9 | 10 | 9.25 | 0.5 | 9 | 10 | 9.625 | 0.51755 | 8 | 10 | 9.2 | 0.83666 | 9 | 10 | 9.375 | 0.51755 | 9 | 10 | 9.8333 | 0.40825 | 8 | 10 | 9.4444 | 0.72648
11 | Rippling | 10: 9; 32: 8; 36: 9; 43: 9; 44: 8; 48: 8; 60: 8 | 8 | 8 |  | 8 | 9 | 8.6 | 0.54772 | 7 | 10 | 8.8 | 0.789 | 8 | 10 | 9 | 0.4714 | 8 | 10 | 9.2 | 0.63246 | 8 | 9 | 8.6667 | 0.57735 | 8 | 10 | 9.2 | 0.83666 | 8 | 10 | 9.2 | 0.83666 | 8 | 10 | 9.125 | 0.64087 | 9 | 10 | 9.375 | 0.51755 | 9 | 10 | 9.4 | 0.54772 | 7 | 10 | 9.1429 | 1.069 | 9 | 9 | 9 | 0 | 9 | 10 | 9.5 | 0.53452 | 9 | 10 | 9.4 | 0.54772 | 8 | 10 | 8.875 | 0.64087 | 9 | 10 | 9.5 | 0.54772 | 8 | 10 | 9.1111 | 0.78174
11 | Wear | 10: 7; 32: 6; 36: 8; 43: 8; 44: 8; 48: 8; 60: 7 | 8 | 6 |  | 6 | 8 | 7.4 | 0.89443 | 7 | 8 | 7.7 | 0.483 | 7 | 9 | 7.8 | 0.63246 | 7 | 9 | 8 | 0.4714 | 7 | 8 | 7.6667 | 0.57735 | 7 | 9 | 8.2 | 0.83666 | 7 | 9 | 8.2 | 0.83666 | 7 | 8 | 7.5 | 0.53452 | 7 | 9 | 7.75 | 0.70711 | 7 | 9 | 7.8 | 0.83666 | 7 | 9 | 7.7143 | 0.75593 | 7 | 9 | 8.25 | 0.95743 | 8 | 9 | 8.25 | 0.46291 | 7 | 8 | 7.8 | 0.44721 | 7 | 9 | 8.125 | 0.83452 | 7 | 9 | 8.1667 | 0.75277 | 7 | 8 | 7.7778 | 0.44096
11 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9125 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.8 | 9.9 | 9.8875 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 10 | 9.9111 | 0.033333
12 | Ridging | 10: 8; 32: 6; 36: 6; 43: 6; 44: 6; 48: 7; 60: 5 | 6 | 7 |  | 6 | 8 | 6.4 | 0.89443 | 5 | 7 | 6.3 | 0.675 | 5 | 7 | 6.3 | 0.67495 | 5 | 8 | 6.3 | 0.94868 | 5 | 7 | 6.3333 | 1.1547 | 6 | 7 | 6.4 | 0.54772 | 6 | 7 | 6.4 | 0.54772 | 5 | 7 | 6.125 | 0.64087 | 5 | 9 | 6.875 | 1.2464 | 6 | 7 | 6.4 | 0.54772 | 5 | 7 | 6 | 0.8165 | 6 | 8 | 7 | 0.8165 | 5 | 8 | 6.375 | 0.91613 | 5 | 7 | 5.6 | 0.89443 | 6 | 8 | 6.625 | 0.74402 | 6 | 7 | 6.3333 | 0.5164 | 5 | 7 | 6.2222 | 0.66667
12 | Rippling | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 48: 9; 60: 9 | 9 | 9 |  | 8 | 9 | 8.8 | 0.44721 | 7 | 10 | 8.8 | 0.789 | 8 | 9 | 8.9 | 0.31623 | 7 | 10 | 8.8 | 0.78881 | 8 | 10 | 9 | 1 | 9 | 10 | 9.2 | 0.44721 | 9 | 10 | 9.2 | 0.44721 | 8 | 10 | 8.875 | 0.64087 | 5 | 10 | 8.625 | 1.5059 | 9 | 10 | 9.2 | 0.44721 | 8 | 10 | 8.8571 | 0.69007 | 8 | 9 | 8.75 | 0.5 | 9 | 10 | 9.375 | 0.51755 | 9 | 10 | 9.6 | 0.54772 | 8 | 9 | 8.75 | 0.46291 | 9 | 10 | 9.5 | 0.54772 | 7 | 10 | 8.8889 | 0.92796
12 | Wear | 10: 6; 32: 6; 36: 7; 43: 6; 44: 6; 48: 7; 60: 5 | 6 | 5 |  | 6 | 7 | 6.2 | 0.44721 | 6 | 8 | 6.5 | 0.707 | 6 | 7 | 6.4 | 0.5164 | 6 | 7 | 6.8 | 0.42164 | 6 | 7 | 6.3333 | 0.57735 | 6 | 7 | 6.6 | 0.54772 | 6 | 7 | 6.6 | 0.54772 | 6 | 7 | 6.5 | 0.53452 | 6 | 7 | 6.625 | 0.51755 | 6 | 7 | 6.6 | 0.54772 | 6 | 7 | 6.4286 | 0.53452 | 6 | 9 | 7 | 1.4142 | 6 | 7 | 6.25 | 0.46291 | 6 | 7 | 6.6 | 0.54772 | 6 | 7 | 6.375 | 0.51755 | 6 | 7 | 6.6667 | 0.5164 | 6 | 7 | 6.6667 | 0.5
12 | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 48: 9.9; 60: 9.9 | 9.9 | 9.9 |  | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 1.8724e-15 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.8 | 9.9 | 9.88 | 0.044721 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.8 | 9.9 | 9.8875 | 0.035355 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.9 | 9.9 | 9.9 | 0 | 9.8 | 9.9 | 9.8778 | 0.044096

## L-42
ASTM Gear Calibration Workshop
Lubrizol, Wickliffe, OH, July 12-14, 2022
L-42 GEARS
|  | Yanchar | Rose | Sanchez, A | Radonich | Adams | Rodriguez | Kozlowski | Lopez |  | Stocks | Foecking | Hayden | Barrera |  | Lonsway | Aguirre | Trevino | Kozak | Kraemer | Potocar | Dominguez | DeCapite | Bolaney | Beard | Schwenk | Sanchez, C | Chalkley | [9 empty] | Austin | Brown | Ragsdale | Beck | [7 empty] | RCMS
SET # |  | 4 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 28 | 29 | 30 | 32 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 48 | 57 |  | 59 |  |  | 60 | 61 | MIN | MAX | AVG | Std Dev | RCMS # | Mean | std | n
1C | Pinion | 10: 30; 32: 28; 36: 31; 43: 33; 44: 30; 48: 31 | 25 | 36 | 24 | 33 |  |  | 28 | 33 | 30.5 | 1.6432 | 52 | 28.8 | 2.99 | 27
1C | Ring | 10: 20; 32: 20; 36: 21; 43: 18; 44: 20; 48: 25 | 13 | 23 | 16 | 17 |  |  | 18 | 25 | 20.6667 | 2.3381 |  | 19.9 | 3.22
2C | Pinion | 10: 26; 32: 26; 36: 27; 43: 22; 44: 25; 48: 28 | 25 | 31 | 20 | 15 |  |  | 22 | 28 | 25.6667 | 2.0656 | 55 | 24.6 | 2.62 | 27
2C | Ring | 10: 13; 32: 14; 36: 10; 43: 13; 44: 11; 48: 17 | 12 | 13 | 11 | 8 |  |  | 10 | 17 | 13 | 2.4495 |  | 13.1 | 1.47
3C | Pinion | 10: 44; 32: 43; 36: 40; 43: 45; 44: 42; 48: 41 | 51 | 49 | 37 | 13 |  |  | 40 | 45 | 42.5 | 1.8708 | 47 | 44.6 | 3.85 | 27
3C | Ring | 10: 34; 32: 35; 36: 34; 43: 34; 44: 34; 48: 34 | 28 | 34 | 31 | 53 |  |  | 34 | 35 | 34.1667 | 0.40825 |  | 34.8 | 2.5
4C | Pinion | 10: 21; 32: 24; 36: 23; 43: 26; 44: 24; 48: 23 | 26 | 24 | 22 | 20 |  |  | 21 | 26 | 23.5 | 1.6432 | 37 | 21.8 | 1.87 | 26
4C | Ring | 10: 15; 32: 14; 36: 13; 43: 13; 44: 12; 48: 15 | 16 | 15 | 13 | 31 |  |  | 12 | 15 | 13.6667 | 1.2111 |  | 13.8 | 1.21
5 | Pinion | 10: 14; 32: 14; 36: 16; 43: 13; 44: 14; 48: 17 | 23 | 15 | 14 |  |  |  | 13 | 17 | 14.6667 | 1.5055 | 10 | 14.1 | 1.01 | 30
5 | Ring | 10: 7; 32: 9; 36: 9; 43: 6; 44: 9; 48: 11 | 11 | 9 | 8 |  |  |  | 6 | 11 | 8.5 | 1.7607 |  | 7.8 | 1.21
6 | Pinion | 10: 7; 32: 8; 36: 9; 43: 4; 44: 6; 48: 7 | 8 | 8 | 7 |  |  |  | 4 | 9 | 6.8333 | 1.7224 | 44 | 6.6 | 0.8 | 27
6 | Ring | 10: 2; 32: 5; 36: 3; 43: 2; 44: 3; 48: 3 | 3 | 2 | 4 |  |  |  | 2 | 5 | 3 | 1.0954 |  | 2.6 | 0.75
7 | Pinion | 10: 66; 32: 65; 36: 68; 43: 79; 44: 71; 48: 77 | 53 | 79 | 57 |  |  |  | 65 | 79 | 71 | 5.831 | 14 | 63.1 | 2.33 | 29
7 | Ring | 10: 56; 32: 53; 36: 49; 43: 44; 44: 55; 48: 54 | 28 | 48 | 48 |  |  |  | 44 | 56 | 51.8333 | 4.535 |  | 52.7 | 3.36
8 | Pinion | 10: 32; 32: 35; 36: 29; 43: 40; 44: 35; 48: 31 | 34 | 36 | 29 |  |  |  | 29 | 40 | 33.6667 | 3.8816 | 32 | 31.5 | 2.24 | 22
8 | Ring | 10: 22; 32: 23; 36: 22; 43: 20; 44: 22; 48: 23 | 17 | 27 | 19 |  |  |  | 20 | 23 | 22 | 1.0954 |  | 21.7 | 2.6
9 | Pinion | 10: 24; 32: 24; 36: 17; 43: 25; 44: 22; 48: 21 | 21 | 26 | 18 |  |  |  | 17 | 25 | 22.1667 | 2.9269 | 9 | 21.7 | 4.22 | 27
9 | Ring | 10: 14; 32: 14; 36: 13; 43: 14; 44: 15; 48: 15 | 10 | 14 | 11 |  |  |  | 13 | 15 | 14.1667 | 0.75277 |  | 15 | 3.51
10 | Pinion | 10: 12; 32: 14; 36: 14; 43: 17; 44: 13; 48: 15 | 13 | 18 | 14 |  |  |  | 12 | 17 | 14.1667 | 1.7224 | 61 | 13.6 | 2.37 | 27
10 | Ring | 10: 6; 32: 8; 36: 6; 43: 7; 44: 7; 48: 8 | 7 | 6 | 6 |  |  |  | 6 | 8 | 7 | 0.89443 |  | 6.5 | 1.25
11 | Pinion | 10: 23; 32: 22; 36: 24; 43: 25; 44: 23; 48: 23 | 18 | 31 | 20 |  |  |  | 22 | 25 | 23.3333 | 1.0328 | 30 | 25.5 | 3.06 | 33
11 | Ring | 10: 13; 32: 12; 36: 14; 43: 12; 44: 18; 48: 16 | 10 | 15 | 11 |  |  |  | 12 | 18 | 14.1667 | 2.4014 |  | 16.1 | 1.96
12 | Pinion | 10: 24; 32: 25; 36: 25; 43: 26; 44: 25; 48: 25 | 23 | 23 | 20 |  |  |  | 24 | 26 | 25 | 0.63246 | 11 | 23.1 | 3.31 | 35
12 | Ring | 10: 16; 32: 14; 36: 18; 43: 14; 44: 20; 48: 18 | 15 | 16 | 13 |  |  |  | 14 | 20 | 16.6667 | 2.4221 |  | 17.4 | 2.24

## L-60
ASTM Gear Calibration Workshop
Lubrizol, Wickliffe, OH, July 12-14, 2022
L-60 GEARS (Large Gear Only)
|  | Yanchar | Rose | Sanchez, A | Radonich | Adams | Rodriguez | Kozlowski | Lopez |  | Stocks | Foecking | Hayden | Barrera |  | Lonsway | Aguirre | Trevino | Kozak | Kraemer | Potocar | Dominguez | DeCapite | Bolaney | Beard | Schwenk | Sanchez, C | Chalkley | [9 empty] | Austin | Brown | Ragsdale
SET # |  | 4 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 28 | 29 | 30 | 32 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 |  | MIN | MAX | AVG | Std Dev | id | mean | std | n
1C | Varnish | 10: 7.61; 32: 8.1; 36: 8.4; 43: 8.38; 44: 6.41; 48: 6.69 |  |  | 8.37 | 8.2 | 7.74 | 6.41 | 8.4 | 7.5983 | 0.86518 | 9 | 7.4803 | 0.63492 | 65
1C | Sludge | 10: 9.65; 32: 9.81; 36: 9.68; 43: 9.68; 44: 9.45; 48: 9.85 |  |  | 9.75 | 9.55 | 9.89 | 9.45 | 9.85 | 9.6867 | 0.14095 |  | 9.6514 | 0.08681
2C | Varnish | 10: 8.96; 32: 8.1; 36: 9.2; 43: 9.53; 44: 8.2; 48: 7.95 |  |  | 9.5 | 8.5 | 9 | 7.95 | 9.53 | 8.6567 | 0.65844 | 26 | 8.2339 | 0.4016 | 62
2C | Sludge | 10: 9.25; 32: 9.88; 36: 9.75; 43: 9.75; 44: 9.63; 48: 9.82 |  |  | 9.75 | 9.75 | 9.95 | 9.25 | 9.88 | 9.68 | 0.22663 |  | 9.7369 | 0.05185
3C | Varnish | 10: 9.5; 32: 9.4; 36: 9.8; 43: 9.8; 44: 9.4; 48: 9.08 |  |  | 9.8 | 9.7 | 9.52 | 9.08 | 9.8 | 9.4967 | 0.27435 | 1 | 9.3154 | 0.30166 | 63
3C | Sludge | 10: 9.75; 32: 9.84; 36: 9.75; 43: 9.75; 44: 9.63; 48: 9.85 |  |  | 9.75 | 9.75 | 9.8 | 9.63 | 9.85 | 9.7617 | 0.079603 |  | 9.711 | 0.07867
4C | Varnish | 10: 8.7; 32: 9.2; 36: 9.7; 43: 9.8; 44: 9.3; 48: 8.6 |  |  | 9.58 | 9.9 | 9.34 | 8.6 | 9.8 | 9.2167 | 0.49565 | 12 | 8.8452 | 0.55924 | 65
4C | Sludge | 10: 9.75; 32: 9.82; 36: 9.75; 43: 9.75; 44: 9.63; 48: 9.8 |  |  | 9.75 | 9.75 | 9.8 | 9.63 | 9.82 | 9.75 | 0.06603 |  | 9.736 | 0.03491
5 | Varnish | 10: 5.65; 32: 4.47; 36: 5.1; 43: 5.38; 44: 5.05; 48: 5.9 |  |  | 5.77 | 4.55 | 4.91 | 4.47 | 5.9 | 5.2583 | 0.50396 | 30 | 5.1367 | 0.46119 | 9
5 | Sludge | 10: 9.63; 32: 9.32; 36: 9.75; 43: 9.7; 44: 9.7; 48: 9.75 |  |  | 9.5 | 9.33 | 9.75 | 9.32 | 9.75 | 9.6417 | 0.16364 |  | 9.4733 | 0.16845
6 | Varnish | 10: 5.57; 32: 3.58; 36: 2.9; 43: 2.91; 44: 3.7; 48: 3.81 |  |  | 4.92 | 2.38 | 4.6 | 2.9 | 5.57 | 3.745 | 0.97728 | 36 | 3.0875 | 0.62142 | 4
6 | Sludge | 10: 9.43; 32: 9.3; 36: 9.6; 43: 9.3; 44: 9.58; 48: 9.75 |  |  | 9 | 9.21 | 9.75 | 9.3 | 9.75 | 9.4933 | 0.18085 |  | 9.5925 | 0.11147
7 | Varnish | 10: 9.02; 32: 8.3; 36: 8; 43: 9.21; 44: 9.1; 48: 8.5 |  |  | 9.68 | 7.92 | 9.09 | 8 | 9.21 | 8.6883 | 0.49228 | 15 | 8.1409 | 0.32859 | 68
7 | Sludge | 10: 9.75; 32: 9.52; 36: 9.75; 43: 9.75; 44: 9.75; 48: 9.8 |  |  | 9.75 | 9.75 | 9.8 | 9.52 | 9.8 | 9.72 | 0.1 |  | 9.7631 | 0.07585
8 | Varnish | 10: 5.66; 32: 4.7; 36: 4.8; 43: 4.38; 44: 5.2; 48: 5.08 |  |  | 5.77 | 3.74 | 5.72 | 4.38 | 5.66 | 4.97 | 0.4452 | 29 | 4.6458 | 0.43675 | 19
8 | Sludge | 10: 9.62; 32: 9.41; 36: 9.7; 43: 9.64; 44: 9.68; 48: 9.73 |  |  | 9.45 | 9.32 | 9.75 | 9.41 | 9.73 | 9.63 | 0.11489 |  | 9.5747 | 0.13918
9 | Varnish | 10: 9.7; 32: 9.4; 36: 9.7; 43: 9.8; 44: 9.6; 48: 9.44 |  |  | 9.8 | 8.5 | 9.7 | 9.4 | 9.8 | 9.6067 | 0.15832 | 18 | 9.3591 | 0.28416 | 64
9 | Sludge | 10: 9.75; 32: 9.88; 36: 9.8; 43: 9.88; 44: 9.8; 48: 9.85 |  |  | 9.75 | 9.75 | 9.75 | 9.75 | 9.88 | 9.8267 | 0.052026 |  | 9.76 | 0.08227
10 | Varnish | 10: 9.5; 32: 8.8; 36: 9.8; 43: 9.7; 44: 9.75; 48: 9.44 |  |  | 9.8 | 8.7 | 9.5 | 8.8 | 9.8 | 9.4983 | 0.37043 | 24 | 9.5176 | 0.20812 | 62
10 | Sludge | 10: 9.75; 32: 9.92; 36: 9.9; 43: 9.94; 44: 9.85; 48: 9.85 |  |  | 9.75 | 9.75 | 9.75 | 9.75 | 9.94 | 9.8683 | 0.068532 |  | 9.7945 | 0.08902

## L-37 (New Pinions)
ASTM Gear Calibration Workshop
Lubrizol, Wicklffe, OH, July 12-14, 2022
L-37 PINION GEARS
|  | Yanchar | Rose | Sanchez, A | Radonich | Adams | Rodriguez | Kozlowski | Lopez |  | Stocks | Foecking | Hayden | Barrera |  | Lonsway | Aguirre | Trevino | Kozak | Kraemer | Potocar | Dominguez | DeCapite | Bolaney | Beard | Schwenk | [12 empty] | Chalkley | Brown | [5 empty] | RCMS | RCMS | RCMS
SET # | DISTRESS | 4 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 28 | 29 | 30 | 32 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 55 | 56 | 58 | 59 | 60 | 61 | MIN | MAX | AVG | Std Dev | Pinion # | Mean | STD | n
1A | Ridging | 10: 8; 32: 7; 36: 8; 43: 7; 44: 6; 59: 8; 60: 8 | 6 | 8 | 7.2 | 0.83666 | 1A | 7.8095 | 0.51177 | 21
1A | Rippling | 10: 6; 32: 6; 36: 7; 43: 6; 44: 7; 59: 7; 60: 7 | 6 | 7 | 6.4 | 0.54772 |  | 7.0952 | 0.70034
1A | Wear | 10: 6; 32: 7; 36: 7; 43: 6; 44: 7; 59: 8; 60: 6 | 6 | 7 | 6.6 | 0.54772 |  | 6.4286 | 0.59761
1A | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 59: 9.9; 60: 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9 | 1.8202e-15
2A | Ridging | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 59: 9; 60: 8 | 8 | 9 | 8.8 | 0.44721 | 2A | 9 | 0 | 21
2A | Rippling | 10: 9; 32: 9; 36: 10; 43: 10; 44: 9; 59: 9; 60: 9 | 9 | 10 | 9.4 | 0.54772 |  | 9 | 0.31623
2A | Wear | 10: 7; 32: 6; 36: 7; 43: 6; 44: 7; 59: 6; 60: 6 | 6 | 7 | 6.6 | 0.54772 |  | 6.6667 | 0.57735
2A | Spitting | 10: 9.9; 32: 9.9; 36: 9.8; 43: 9.9; 44: 9.8; 59: 9.9; 60: 9.9 | 9.8 | 9.9 | 9.86 | 0.054772 |  | 9.9 | 0
3A | Ridging | 10: 5; 32: 5; 36: 5; 43: 5; 44: 4; 59: 7; 60: 6 | 4 | 5 | 4.8 | 0.44721 | 3A | 5.1429 | 0.79282 | 21
3A | Rippling | 10: 7; 32: 8; 36: 6; 43: 7; 44: 8; 59: 7; 60: 8 | 6 | 8 | 7.2 | 0.83666 |  | 7.8095 | 0.92839
3A | Wear | 10: 6; 32: 6; 36: 6; 43: 6; 44: 5; 59: 5; 60: 6 | 5 | 6 | 5.8 | 0.44721 |  | 5.7143 | 0.46291
3A | Spitting | 10: 6; 32: 6; 36: 5; 43: 6; 44: 5; 59: 6; 60: 6.7 | 5 | 6 | 5.6 | 0.54772 |  | 6.1429 | 0.35857
4A | Ridging | 10: 9; 32: 8; 36: 9; 43: 8; 44: 9; 59: 9; 60: 8 | 8 | 9 | 8.6 | 0.54772 | 4A | 8.3333 | 0.48305 | 21
4A | Rippling | 10: 6; 32: 6; 36: 6; 43: 6; 44: 5; 59: 8; 60: 6 | 5 | 6 | 5.8 | 0.44721 |  | 6.4762 | 0.67964
4A | Wear | 10: 6; 32: 8; 36: 7; 43: 7; 44: 7; 59: 8; 60: 7 | 6 | 8 | 7 | 0.70711 |  | 6.9524 | 0.49761
4A | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 59: 9.9; 60: 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9 | 1.8202e-15
5A | Ridging | 10: 9; 32: 8; 36: 9; 43: 8; 44: 9; 59: 9; 60: 8 | 8 | 9 | 8.6 | 0.54772 | 5A | 8.2857 | 0.46291 | 21
5A | Rippling | 10: 10; 32: 9; 36: 9; 43: 9; 44: 10; 59: 9; 60: 9 | 9 | 10 | 9.4 | 0.54772 |  | 9.3333 | 0.48305
5A | Wear | 10: 7; 32: 8; 36: 7; 43: 8; 44: 7; 59: 8; 60: 7 | 7 | 8 | 7.4 | 0.54772 |  | 7 | 0.31623
5A | Spitting | 10: 10; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 59: 9.9; 60: 9.9 | 9.9 | 10 | 9.92 | 0.044721 |  | 9.9095 | 0.030079
6A | Ridging | 10: 8; 32: 9; 36: 9; 43: 9; 44: 8; 59: 9; 60: 9 | 8 | 9 | 8.6 | 0.54772 | 6A | 8.8095 | 0.40237 | 21
6A | Rippling | 10: 5; 32: 6; 36: 4; 43: 5; 44: 4; 59: 6; 60: 6 | 4 | 6 | 4.8 | 0.83666 |  | 5.6667 | 0.65828
6A | Wear | 10: 7; 32: 7; 36: 7; 43: 7; 44: 7; 59: 7; 60: 6 | 7 | 7 | 7 | 0 |  | 6.7619 | 0.53896
6A | Spitting | 10: 10; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 59: 9.9; 60: 9.9 | 9.9 | 10 | 9.92 | 0.044721 |  | 9.9048 | 0.021822
7A | Ridging | 10: 8; 32: 8; 36: 9; 43: 7; 44: 7; 59: 9; 60: 8 | 7 | 9 | 7.8 | 0.83666 | 7A | 8.1905 | 0.60159 | 21
7A | Rippling | 10: 7; 32: 6; 36: 5; 43: 5; 44: 5; 59: 7; 60: 7 | 5 | 7 | 5.6 | 0.89443 |  | 6.619 | 0.74001
7A | Wear | 10: 6; 32: 7; 36: 7; 43: 7; 44: 7; 59: 8; 60: 6 | 6 | 7 | 6.8 | 0.44721 |  | 6.5714 | 0.50709
7A | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 59: 9.9; 60: 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9 | 1.8202e-15
8A | Ridging | 10: 8; 32: 7; 36: 9; 43: 8; 44: 9; 59: 9; 60: 8 | 7 | 9 | 8.2 | 0.83666 | 8A | 8.7619 | 0.43644 | 21
8A | Rippling | 10: 9; 32: 8; 36: 9; 43: 10; 44: 10; 59: 9; 60: 8 | 8 | 10 | 9.2 | 0.83666 |  | 8.9524 | 0.38421
8A | Wear | 10: 7; 32: 6; 36: 6; 43: 6; 44: 7; 59: 6; 60: 6 | 6 | 7 | 6.4 | 0.54772 |  | 6.2857 | 0.46291
8A | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 59: 9.9; 60: 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.9048 | 0.021822
9A | Ridging | 10: 6; 32: 5; 36: 6; 43: 6; 44: 6; 59: 7; 60: 7 | 5 | 6 | 5.8 | 0.44721 | 9A | 6.05 | 0.88704 | 20
9A | Rippling | 10: 5; 32: 5; 36: 3; 43: 5; 44: 5; 59: 6; 60: 7 | 3 | 5 | 4.6 | 0.89443 |  | 5.45 | 0.88704
9A | Wear | 10: 6; 32: 6; 36: 6; 43: 6; 44: 5; 59: 6; 60: 6 | 5 | 6 | 5.8 | 0.44721 |  | 5.8 | 0.41039
9A | Spitting | 10: 4; 32: 5; 36: 4; 43: 4; 44: 5; 59: 4; 60: 4.3 | 4 | 5 | 4.4 | 0.54772 |  | 4.25 | 0.63867
10A | Ridging | 10: 9; 32: 8; 36: 9; 43: 9; 44: 9; 59: 8; 60: 8 | 8 | 9 | 8.8 | 0.44721 | 10A | 8.9 | 0.44721 | 20
10A | Rippling | 10: 9; 32: 9; 36: 9; 43: 9; 44: 9; 59: 9; 60: 9 | 9 | 9 | 9 | 0 |  | 9 | 0.32444
10A | Wear | 10: 7; 32: 6; 36: 7; 43: 6; 44: 7; 59: 8; 60: 6 | 6 | 7 | 6.6 | 0.54772 |  | 6.55 | 0.51042
10A | Spitting | 10: 7; 32: 7; 36: 7; 43: 7; 44: 7; 59: 7; 60: 7.2 | 7 | 7 | 7 | 0 |  | 7.05 | 0.22361
11A | Ridging | 10: 8; 32: 7; 36: 9; 43: 8; 44: 9; 59: 9; 60: 7 | 7 | 9 | 8.2 | 0.83666 | 11A | 8.7 | 0.57124 | 20
11A | Rippling | 10: 9; 32: 9; 36: 9; 43: 9; 44: 9; 59: 9; 60: 9 | 9 | 9 | 9 | 0 |  | 9.1 | 0.55251
11A | Wear | 10: 7; 32: 6; 36: 7; 43: 6; 44: 7; 59: 9; 60: 6 | 6 | 7 | 6.6 | 0.54772 |  | 6.6 | 0.50262
11A | Spitting | 10: 8; 32: 8; 36: 8; 43: 9; 44: 8; 59: 8; 60: 8.5 | 8 | 9 | 8.2 | 0.44721 |  | 8.05 | 0.22361
12A | Ridging | 10: 9; 32: 7; 36: 9; 43: 7; 44: 8; 59: 8; 60: 7 | 7 | 9 | 8 | 1 | 12A | 8.4 | 0.50262 | 20
12A | Rippling | 10: 9; 32: 8; 36: 10; 43: 9; 44: 9; 59: 9; 60: 9 | 8 | 10 | 9 | 0.70711 |  | 9 | 0.64889
12A | Wear | 10: 7; 32: 7; 36: 7; 43: 7; 44: 7; 59: 8; 60: 7 | 7 | 7 | 7 | 0 |  | 6.85 | 0.48936
12A | Spitting | 10: 9.9; 32: 9.9; 36: 9.9; 43: 9.9; 44: 9.9; 59: 9.9; 60: 9.9 | 9.9 | 9.9 | 9.9 | 0 |  | 9.915 | 0.036635

## L-60 (Lamp 2)
ASTM Gear Calibration Workshop
Lubrizol, Wickliffe, OH, July 12-14, 2022
L-60 GEARS (Large Gear Only) LED Converted Tube Lamp | [48 empty] | Day 1 Ratings on Lamp 1
|  | Yanchar | Rose | Sanchez, A | Radonich | Adams | Rodriguez | Kozlowski | Lopez |  | Stocks | Foecking | Hayden | Barrera |  | Lonsway | Aguirre | Trevino | Kozak | Kraemer | Potocar | Dominguez | DeCapite | Bolaney | Beard | Schwenk | Sanchez, C | Chalkley | [9 empty] | Austin | Brown | Ragsdale | [8 empty] | Sanchez, A | Hayden | Lonsway | DeCapite | Bolaney | Chalkley |  | Austin | Brown | Ragsdale
SET # |  | 4 | 7 | 10 | 11 | 16 | 22 | 25 | 27 | 28 | 29 | 30 | 32 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 |  | MIN | MAX | AVG | Std Dev | id | mean | std | n | 10 | 32 | 36 | 43 | 44 | 48 | 57 | 58 | 59 |  | MIN | MAX | AVG | Std Dev
1C | Varnish | 10: 8.49; 32: 7.96; 43: 7.68; 48: 7.48 |  |  | 9.72 | 8.08 | 7.97 | 7.48 | 8.49 | 7.9025 | 0.43836 | 9 | 7.4803 | 0.63492 | 65 | 7.61 | 8.1 | 8.4 | 8.38 | 6.41 | 6.69 |  | 8.37 | 8.2 | 7.74 | 6.41 | 8.4 | 7.5983 | 0.86518
1C | Sludge | 10: 9.65; 32: 9.71; 43: 9.68; 48: 9.73 |  |  | 9.75 | 9.98 | 9.85 | 9.65 | 9.73 | 9.6925 | 0.035 |  | 9.6514 | 0.08681 |  | 9.65 | 9.81 | 9.68 | 9.68 | 9.45 | 9.85 |  | 9.75 | 9.55 | 9.89 | 9.45 | 9.85 | 9.6867 | 0.14095
2C | Varnish | 10: 8.67; 32: 8.2; 43: 9.3; 48: 8.38 |  |  | 9.8 | 8.7 | 9.2 | 8.2 | 9.3 | 8.6375 | 0.48224 | 26 | 8.2339 | 0.4016 | 62 | 8.96 | 8.1 | 9.2 | 9.53 | 8.2 | 7.95 |  | 9.5 | 8.5 | 9 | 7.95 | 9.53 | 8.6567 | 0.65844
2C | Sludge | 10: 9.75; 32: 9.83; 43: 9.75; 48: 9.8 |  |  | 9.75 | 9.63 | 9.81 | 9.75 | 9.83 | 9.7825 | 0.039476 |  | 9.7369 | 0.05185 |  | 9.25 | 9.88 | 9.75 | 9.75 | 9.63 | 9.82 |  | 9.75 | 9.75 | 9.95 | 9.25 | 9.88 | 9.68 | 0.22663
3C | Varnish | 10: 9.65; 32: 8.8; 43: 9.8; 48: 8.9 |  |  | 9.8 | 8.7 | 9.5 | 8.8 | 9.8 | 9.2875 | 0.51051 | 1 | 9.3154 | 0.30166 | 63 | 9.5 | 9.4 | 9.8 | 9.8 | 9.4 | 9.08 |  | 9.8 | 9.7 | 9.52 | 9.08 | 9.8 | 9.4967 | 0.27435
3C | Sludge | 10: 9.75; 32: 9.76; 43: 9.75; 48: 9.75 |  |  | 9.75 | 9.75 | 9.8 | 9.75 | 9.76 | 9.7525 | 0.005 |  | 9.711 | 0.07867 |  | 9.75 | 9.84 | 9.75 | 9.75 | 9.63 | 9.85 |  | 9.75 | 9.75 | 9.8 | 9.63 | 9.85 | 9.7617 | 0.079603
4C | Varnish | 10: 9.13; 32: 8.5; 43: 9.7; 48: 8.75 |  |  | 9.9 | 8 | 9.7 | 8.5 | 9.7 | 9.02 | 0.52211 | 12 | 8.8452 | 0.55924 | 65 | 8.7 | 9.2 | 9.7 | 9.8 | 9.3 | 8.6 |  | 9.58 | 9.9 | 9.34 | 8.6 | 9.8 | 9.2167 | 0.49565
4C | Sludge | 10: 9.75; 32: 9.7; 43: 9.75; 48: 9.78 |  |  | 9.75 | 9.55 | 9.75 | 9.7 | 9.78 | 9.745 | 0.033166 |  | 9.736 | 0.03491 |  | 9.75 | 9.82 | 9.75 | 9.75 | 9.63 | 9.8 |  | 9.75 | 9.75 | 9.8 | 9.63 | 9.82 | 9.75 | 0.06603